# SUPPLEMENTARY MATERIAL

Investigating the presence, distribution and risk of pharmaceutically active compounds (PhACs) in wastewater treatment plants, river sediments and fish.

Silvia Royano1,2*, Irene Navarro1, Adrián de la Torre 1,3, María Ángeles Martínez1,3

1 Unit of Persistent Organic Pollutants and Emerging Pollutants in Environment, Department of Environment, CIEMAT, Avda. Complutense 40, 28040, Madrid, Spain.

2 International Doctoral School of the UNED (EIDUNED), National University of Distance Education (UNED), Madrid, Spain.

3 These authors share last authorship

* Corresponding author: silvia.royano@ciemat.es

Table of content

|  | Page |
| --- | --- |
| S.1 Chemicals and reagents………………………………………………………………………….. | S3 |
| S2. Fish and sediment sampling points……………………………………….…………………...... | S7 |
| S3. Fish samples extraction method optimization………………………………………………….. | S9 |
| S4. Analytical methods validation…………………………………………………………………... | S12 |
| Figures |  |
| Figure S1. Diagram of the purification process of the water line (blue) and sludge line (red) of the two sampled WWTPs. A: influent/before the digester. B: effluent/after the digester. ……………….. | S6 |
| Figure S2. Sampling design in the study area……………………………………….……………….. | S7 |
| Figure S3. Contribution (%) to the ∑PhACs concentration in the effluents (WWTP 1 and WWTP 2) and Tagus River surface water………………………………………………………………………… | S20 |
| Tables |  |
| Table S1. CAS Nº, molecular weight and physicochemical properties for target PhACs...………….. | S4 |
| Table S2. WWTP characteristics.………….......................................................................................... | S5 |
| Table S3. Sampling points considered in this study……………………………………..…………... | S8 |
| Table S4. Extraction and purification methods evaluated for the extraction of PhACs from fish samples……………………………………………………………………………………………….... | S10 |
| Table S5. Comparison of the developed methods (recoveries and RSD) for the extraction of PhACs from fish samples at two concentration levels.………………………………………………………... | S11 |
| Table S6. Limits of detection (LODs), limits of quantification (LOQs) and validation results at low and high concentration levels for liquid samples (influent and effluent) ..…………………………… | S12 |
| Table S7. Limits of detection (LODs), limits of quantification (LOQs) and validation results at low and high concentration levels for sediment and sludge samples.……………………………………... | S13 |
| Table S8. Limits of detection (LODs), limits of quantification (LOQs) and validation results at low and high concentration levels for fish samples....……………………………………………….......... | S14 |
| Table S9. Equations used in the calculation of Predicted Environmental Concentrations and Predicted No-Effect Concentrations…………………………………………………………………... | S15 |
| Table S10. General parameters used in the calculation of Predicted Environmental Concentrations and Predicted No-Effect Concentrations for the different compartments…………………………….. | S16 |
| Table S11. Median, average ± standard deviation, minimum - maximum concentrations (ng/g) and quantification and detection frequency for PhACs in influent and effluent wastewater……………… | S17 |
| Table S12. Median mass flow rates (g/day) of the PhACs quantified in WWTPs in influent, effluent and sludge before and after digesters. RE: removal efficiency……………………………………….. | S19 |
| Table S13. Removal efficiency (RE) of water line at evaluated WWTPs……………………………. | S21 |
| Table S14. Spearman's Rho correlation matrix obtained with the median concentrations of each compound in each environmental compartment and physicochemical properties of each PhAC.......... | S22 |
| Table S15. Median, average ± standard deviation, minimum – maximum concentration (ng/g), quantification and detection frequency for PhACs found in WWTP sludge.…………………………. | S23 |
| Table S16. Median, average ± standard deviation, minimum - maximum concentration and quantification and detection frequency for PhACs found in the river basin (river sediment and fish)......................................................................................................................................................... | S25 |
| Table S17. PhACs data previously reported for sediments in the literature.…………………………. | S26 |
| Table S18. Calculated sediment-water partition coefficients (KD) for PhACs quantified in sediment samples. NA: not applicable (not quantified in surface water samples)……………………………… | S29 |
| Table S19. Spearman's Rho correlation matrix for aquatic environment………….. Excel document |  |
| Table S20. PhACs data previously reported for fish in the literature………………………………… | S30 |
| Table S21. Predicted Environmental Concentration values for soil for the first 25 years after annual application ……...……………………………………………………………………………............... | S34 |
| Table S22. Predicted Environmental Concentration values for earthworms for the first 25 years after annual application………………………………………………………………………………... | S35 |
| Table S23. Risk Characterization Ratios estimated for the soil compartment………………………... | S36 |
| Table S24. Calculated PNEC values for sediment compartment for each trophic level……………… | S37 |
| Table S25. RCRs for sediment samples at the median and worst scenarios………………………….. | S38 |
| Table S26. Total RCR values as the sum of RQwater (Royano et al., 2023) and RCRsediment at each sampling point for the three trophic levels…………………………………………………………… | S40 |

## S.1 Chemicals and reagents

Native and deuterated standards were purchased from LGC Dr. Ehrenstorfer (Augsburg, Germany) (carbamazepine, clarithromycin, clotrimazole, erythromycin, fluconazole, ibuprofen-d3, irbesartan, naproxen, o-desmethylvenlafaxine, sulfamethoxazole, sulfamethoxazole-d4, thiabendazole, trimethoprim, valsartan, and clothianidin-d3), LabStandard (Barcelona, Spain) (acetaminophen, acetaminophen-d3, atenolol, atenolol-d7, atorvastatin, azithromycin, gemfibrozil, ibuprofen, ketoprofen, metoprolol, miconazole, and venlafaxine,), Toronto Research Chem Canada (North York, ON, Canada) (gemfibrozil-d6) and LGC LoGiCal (Luckenwalde, Germany) (velafaxine-d6). Methanol (LC-MS grade) was obtained from J.T. Baker (Philipsburg, NJ, USA). Acetonitrile (HPLC grade) was acquired from SYMTA S.L.L (Madrid, Spain). Formic acid and acetic acid were purchased from Scharlau (Barcelona, Spain). Magnesium sulfate, sodium acetate, sodium chloride, hexane and acetone were obtained from Merck KGaA (Darmstadt, Germany). EDTA disodium salt was acquire from PanReac (PanReac Applichem, Darmstadt, Germany). Bondesil-PSA, C18 endcapped bulk sorbent, and PTFE vial filter were purchased from Agilent Technologies (Santa Clara, CA, USA). Oasis HLB SPE cartridges (6 mL, 200 mg and 500 mg) were purchased from Waters (Milford, MA, USA).

Individual stock solutions were used for preparing native and deuterated working standard mixtures in acetonitrile at a concentration of 1 mg/L. All standard solutions were stored at -20ºC.

Table S1. CAS Nº, molecular weight and physicochemical properties for target PhACs.

| Category | PhAC | CAS Nº | MW (g/mol) a | pKa a | Water solubility (mg/L) b | logKow b | LogKoc a | BAF (L/Kg) b | Henry Law Constant (atm m3/mol) b | Vapor Pressure (mm Hg) b |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Antibiotics | Azithromycin | 83905-01-5 | 749 | 8.7 | 0.062 | 4.02 | 3.49 | 12 | 5.30x10-29 | 2.64x10-24 |
|  | Clarithromycin | 81103-11-9 | 748 | 9.0 | 0.342 | 3.16 | 2.18 | 15 | 1.73x10-29 | 2.32x10-25 |
|  | Erythromycin A | 114-07-8 | 734 | 8.9 | 0.517 | 3.06 | 2.76 | 9.3 | 5.42x10-29 | 2.12x10-25 |
|  | Anhydroerythromycin A | 23893-13-2 | 716 | 13.5 | 0.056 | 4.34 | 2.01 b | 88 | 1.60x10-27 | 1.35x10-24 |
|  | Sulfamethoxazole | 723-46-6 | 253 | 1.6/5.7 | 3942 | 0.89 | 1.86 | 1.5 | 9.56x10-13 | 1.30x10-7 |
|  | Trimethoprim | 738-70-5 | 290 | 7.1 | 2334 | 0.91 | 1.88 | 1.2 | 2.39x10-14 | 7.52x10-9 |
| Antihypertensives | Irbesartan | 138402-11-6 | 429 | 4.1/4.3 | 0.192 | 4.81 | 6.11 | 1293 | 3.13x10-15 | 2.93x10-15 |
|  | Valsartan | 137862-53-4 | 436 | 4.0/4.6 | 1.406 | 3.65 | 4.36 | 215 | 1.82x10-18 | 8.18x10-16 |
| Βeta-blockers | Atenolol | 29122-68-7 | 266 | 9.6 | 685 | 0.16 | 0.61 b | 0.95 | 1.37x10-18 | 7.69x10-10 |
|  | Metoprolol | 37350-58-6 | 267 | 9.6 | 4777 | 1.88 | 1.79 | 8.0 | 1.40x10-13 | 2.88x10-7 |
| Antidepressants | o-Desmethylvenlafaxine | 93413-62-8 | 263 | 9.4/10.7 | 3939 | 2.68 | 3.23 | 11 | 3.59x10-14 | 4.32x10-8 |
|  | Venlafaxine | 93413-44-6 | 277 | 9.5 | 267 | 3.28 | 2.28 | 50 | 2.04x10-10 | 2.46x10-7 |
| Antiepileptics | Carbamazepine | 298-46-4 | 236 | 13.9 | 17.7 | 2.45 | 2.71 | 19 | 1.08x10-10 | 8.80x10-8 |
| Analgesics | Acetaminophen | 103-90-2 | 151 | 9.4 | 30350 | 0.46 | 1.32 | 0.98 | 6.51x10-8 | 1.94x10-6 |
| Anti-inflammatories | Ibuprofen | 15687-27-1 | 206 | 4.9 | 41 | 3.97 | 3.53 | 437 | 1.52x10-7 | 1.86x10-4 |
|  | Ketoprofen | 22071-15-4 | 254 | 4.0 | 120 | 3.12 | 2.59 b | 96 | 2.12x10-11 | 1.46x10-6 |
|  | Naproxen | 22204-53-1 | 230 | 4.2 | 145 | 3.18 | 2.52 | 132 | 3.39x10-10 | 1.27x10-6 |
| Lipid regulators | Atorvastatin | 134523-03-8 | 559 | 4.5 | 0.001 | 6.36 | 2.60 | 104 | 2.41x10-23 | 6.95x10-25 |
|  | Gemfibrozil | 25812-30-0 | 250 | 4.5 | 4.964 | 4.77 | 2.63 | 924 | 1.19x10-8 | 3.05x10-5 |
| Fungicides | Clotrimazole | 23593-75-1 | 345 | 4.1 | 0.030 | 6.26 | 6.43 b | 3.9x105 | 3.12x10-8 | 2.13x10-9 |
|  | Fluconazole | 86386-73-4 | 306 | 2.3 | 13660 | 0.5 | 4.72 | 1.2 | 1.02x10-13 | 2.92x10-9 |
|  | Miconazole | 22916-47-8 | 416 | --- | 0.011 | 6.25 | 5.74 b | 3.2x105 | 2.45x10-9 | 1.77x10-10 |
| Anthelmintics | Thiabendazole | 148-79-8 | 201 | 4.6 | 335 | 2.47 | 3.40 | 22 | 2.00x10-11 | 6.23x10-10 |

a Pubchem; b US EPA; Estimation Program Interface (EPI) Suite. Ver. 4.1.

Table S2. WWTP characteristics.

|  | UTMX |  | UTMY |  | Date of construction |  |  |  |  | Equivalent inhabitants |  |  |  | Applied treatments |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WWTP 1 | 418718 |  | 4414162 |  | 1995 (last update in 2009) |  |  |  |  | 170,000 |  |  |  | Primary treatment (roughing process and primary decantation): remove suspended solids and oils. |  |  |  |  |  |  |  |  |  |  |  |
| WWTP 2 | 403776 |  | 4414479 |  | Dic-2014 |  |  |  |  | 270.000 |  |  |  | Secondary treatment (activated sludge): remove organic matter and nutrients such as nitrogen and phosphorus. |  |  |  |  |  |  |  |  |  |  |  |
| WWTP 1 | WATER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SLUDGE |  |  |  |  |
| Sampling day | Input and output flow rate | pH |  |  |  | DBO5 (mg/L) |  | SSs (mg/L) |  | DQO (mg/L) |  | PT (mg/L) |  | NT (mg/L) |  | N-NO3 (mg/L) |  | N-NH4 (mg/L) |  | HRT | Input flow rate | Output flow rate | Input | Output | Biogas flow rate |
|  | m³/d | Influent |  | Effluent |  | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | hours | kg/d | kg/d | % H | % H | m³/d |
| 03/03/2022 | 11711 | 8.9 |  | 8.1 |  | 640 | 17 | 563 | 45 | 1404 | 115 | 12 | 1.1 | 58 | 10 | 1.2 | 0.2 | 32 | 5.5 | 40 | 16128 | 39750 | 94 | 24 | 993 |
| 08/06/2022 | 8415 | 7.9 |  | 8.8 |  | 990 | 27 | 585 | 30 | 1509 | 128 | 21 | 2.8 | 73 | 7.3 | 1.2 | 0.2 | 40 | 5.0 | 32 | 16162 | 45360 | 96 | 31 | 5076 |
| 27/09/2022 | 7121 | 8.5 |  | 8.1 |  | 820 | 9.0 | 543 | 7.0 | 1010 | 113 | 10 | 0.7 | 46 | 6.4 | 0.8 | 0.9 | 36 | 2.5 | 38 | 5846 | 33730 | 96 | 24 | 784 |
| 09/12/2022 | 8740 | 7.5 |  | 8.1 |  | 1150 | 12 | 720 | 8.0 | 2105 | 91 | 16 | 1.0 | 68 | 9.3 | 0.7 | 0.4 | 40 | 4.9 | 31 | 5779 | 10410 | 97 | 35 | 1054 |
| Mean | 8997 | 8.2 |  | 8.3 |  | 900 | 16 | 603 | 23 | 1507 | 112 | 15 | 1.4 | 61 | 8.2 | 1.0 | 0.4 | 37 | 4.5 | 35 | 10979 | 32313 | 96 | 29 | 1977 |
| WWTP 2 | WATER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SLUDGE |  |  |  |  |
| Sampling day | Inlet and outlet flow rates | pH |  |  |  | DBO5 (mg/L) |  | SSs (mg/L) |  | DQO (mg/L) |  | PT (mg/L) |  | NT (mg/L) |  | N-NO3 (mg/L) |  | N-NH4 (mg/L) |  | HRT | Input flow rate | Output flow rate | Input | Output | Biogas flow rate |
|  | m³/d | Influent |  | Effluent |  | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | Influent | Effluent | hours | kg/d | kg/d | % H | % H | m³/d |
| 03/03/2022 | 21387 | 7.3 |  | 6.7 |  | 350 | 10 | 563 | 14 | 803 | 20 | 11 | 0.9 | 84 | 12 | 0.8 | 10 | 57 | 1.9 | 35 | 3110 | 33120 | 75 | 18 | 1900 |
| 08/06/2022 | 12901 | 7.6 |  | 7.2 |  | 280 | 7.5 | 340 | 4.0 | 702 | 29 | 11 | 0.8 | 73 | 5.9 | 0.8 | 5.4 | 52 | 0.1 | 58 | 4080 | 13400 | 79 | 27 | 1500 |
| 27/09/2022 | 12757 | 7.6 |  | 7.3 |  | 220 | 7.0 | 182 | 2.0 | 436 | 27 | 7.9 | 0.9 | 74 | 6.7 | 0.5 | 6.2 | 61 | 0.5 | 59 | 2638 | 11540 | 82 | 23 | 1494 |
| 09/12/2022 | 24213 | 7.7 |  | 7.1 |  | 280 | 7.5 | 233 | 5.0 | 597 | 27 | 9.1 | 0.7 | 79 | 4.5 | 0.7 | 4.1 | 60 | 0.4 | 53 | 7403 | 17420 | 88 | 28 | 1887 |
| Mean | 17815 | 7.6 |  | 7.1 |  | 283 | 8.0 | 330 | 6.3 | 635 | 26 | 10 | 0.8 | 78 | 7.3 | 0.7 | 6.4 | 58 | 0.7 | 51 | 4308 | 18870 | 81 | 24 | 1695 |

Figure S1. Diagram of the purification process of the water line (blue) and sludge line (red) of the two sampled WWTPs. A: influent/before the digester. B: effluent/after the digester.

S2. Fish and sediment sampling points.

Sediment samples were collected with grabs if the river was not fordable or scoops if it was fordable at a depth of 5-10 cm and fish samples were obtained by electrofishing following current regulations (Ministry of Agriculture, Food and Environment, 2015). The sampling locations were selected with the advice of the Tagus Hydrographic Confederation (Ministry for the Ecological Transition and the Demographic Challenge, 2024) and its historical records, to obtain representative samples of the basin. Complete details of sampling carried out are shown in Figure S2 and Table S3.

Figure S2. Sampling design in the study area.

Table S3. Sampling points considered in this study.

| Sampling Point | City (Province) | UTMX |  | UTMY |  | Sampling dates |  |  |  | Anthropogenic influencea |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | Mejorada del Campo (Madrid) | 456,764 | 4,471,760 |  | 10-01-2020 |  | 10-04-2021 | 10-24-2022 | High |  |
| S2 | Rivas-Vaciamadrid (Madrid) | 453,833 | 4,461,168 |  | 10-05-2020 |  | 10-07-2021 | 11-25-2022 | High |  |
| S3 | Getafe (Madrid) | 449,199 | 4,461,632 |  | 10-05-2020 |  | 10-15-2021 | 11-25-2022 | High |  |
| S4 | Aranjuez (Madrid) | 448,137 | 4,437,335 |  | 10-06-2020 |  | 10-08-2021 | 11-14-2022 | High |  |
| S5 | Aranjuez (Madrid) | 452,121 | 4,432,818 |  | 10-06-2020 |  | 10-08-2021 | 11-14-2022 | Low |  |
| S6 | Aranjuez (Madrid) | 443,484 | 4,432,071 |  | 10-02-2020 |  | 10-05-2021 | 10-25-2022 | High |  |
| S7 | Bargas (Toledo) | 411,552 | 4,427,537 |  | 10-13-2020 |  | 10-25-2021 | 10-05-2022 | Medium |  |
| S8 | Cebolla (Toledo) | 364,743 | 4,420,877 |  | 10-14-2020 |  | 10-25-2021 | 10-06-2022 | Medium |  |
| S9 | Talayuela (Cáceres) | 276,945 | 4,433,529 |  | 10-19-2020 |  | 10-26-2021 | 10-06-2022 | Low |  |
| S10 | Carbacoso (Cáceres) | 226,285 | 4,437,778 |  | 10-01-2020 |  | 10-04-2021 | 10-24-2022 | Medium |  |

a This classification relied on land uses, livestock industries, and WWTPs presence as population-level indicators

S3. Fish samples extraction method optimization.

For the extraction of PhACs from the fish samples, four different methodologies based on either Quick, Easy, Cheap, Effective, Rugged, and Safe (QuEChERS) dispersive solid phase extraction or conventional liquid-solid extraction with acetonitrile were tested. The different methods evaluated are detailed in Table S4.

In methods 1 and 2, one gram of wet fish was spiked with 50 ng of deuterated standards (acetaminophen-d3, atenolol-d7, gemfibrozil-d6, ibuprofen-d3, sulfamethoxazole-d4, and venlafaxine-d6) and, extraction was performed with 10 mL of acetonitrile and 9 mL of Milli-Q water for 30 min followed by addition of the corresponding salts. The method 1 (QuEChERS AOAC Official Method 2007.01, (AOAC, 2007) used MgSO4 and sodium acetate (4:1), while the method 2 (QuEChERS Original) used MgSO4 and NaCl (4:1). After vortexing for 1 min and centrifugation for 5 min at 4000 rpm, the supernatant was transferred to a polypropylene tube for the cleanup step. For purification of the extract, a dispersive solid phase extraction (dSPE) was carried out with 150 mg PSA, 150 mg C18 and 900 mg MgSO4. After vortexing 1 min and centrifugation for 5 min at 4000 rpm, the supernatant was evaporated to 1 mL under a stream of nitrogen. Finally, the extract was filtered with vials fitted with 0.45 µm PTFE filters. The method 3 was based on method 2 but weighing 1g freeze-dried fish instead of wet sample.

In the case of the method 4, one gram of freeze-dried fish was extracted with 7 mL of 0.1 M acetate buffer (pH 4)/acetonitrile (50:50). It was stirred mechanically for 30 minutes and centrifuged for 5 minutes at 4000 rpm. For the cleanup stage, a SPE was carried out with Oasis HLB cartridges (6 mL, 200 mg; Waters, Milford, MA, USA) previously conditioned with 5 mL of methanol and 5 mL of Milli-Q water. Sample was diluted to 500 mL with Milli-Q water before passing through the cartridge and then, the cartridge was washed with 6 mL of Milli-Q water and allowed to dry for 30 minutes under vacuum. The analytes were eluted with 6 mL of methanol and the extract was subsequently concentrated to 1 mL under a gentle stream of nitrogen.

To assess the suitability of the different methods, they were applied to a real sample where no concentrations of any of the target PhACs were previously found. Each method was performed spiking the samples at two different PhAC concentration levels (low: 10 ng/g and high: 50 ng/g) with native standards. The method 4 obtained the highest number of compounds with acceptable recoveries (70% and 120%, Table S5).

Table S4. Extraction and purification methods evaluated for the extraction of PhACs from fish samples.

| Method | Sample | Mass | Extraction | Cleanup |
| --- | --- | --- | --- | --- |
| 1 | Wet | 1 g | QuEChERS AOAC (MgSO4 = 6 g + NaAcetate = 1.5 g) | dSPE (150 mg PSA + 150 mg C18 + 900 mg MgSO4) |
| 2 | Wet | 1 g | QuEChERS Original (MgSO4 = 4 g + NaCl = 1 g) |  |
| 3 | Freeze-dried | 1 g | QuEChERS Original (MgSO4 = 4 g + NaCl = 1 g) |  |
| 4 | Freeze-dried | 1 g | 0.1 M acetate buffer (pH 4) / acetonitrile (50:50) | SPE (Oasis HLB cartridges (200 mg, 6mL)), dilute to 500 mL with MilliQ water |

Furthermore, a variation of method 4 was tested, consisting of an addition of 100 µL (0.1%) of 0.1M Na2EDTA after dilution of the extract with Milli-Q water to capture metal ions such as Ca2+ or Fe3+ which can form complexes with some PhACs such as tetracyclines, macrolides or quinolones (Carmona et al., 2017; Peysson and Vulliet, 2013) and interfere with the results. However, the target analytes do not include any tetracyclines or quinolones and no improvement in the extraction of macrolides was observed. In addition, a lower signal-to-noise ratio was obtained.

Table S5. Comparison of the developed methods (recoveries and RSD) for the extraction of PhACs from fish samples at two concentration levels.

|  | Method 1 |  |  |  | Method 2 |  |  |  |  | Method 3 |  |  |  | Method 4 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 10 ng/g |  | 50 ng/g |  | 10 ng/g |  |  | 50 ng/g |  | 10 ng/g |  | 50 ng/g |  | 10 ng/g |  | 50 ng/g |  |
| PhACs | Recovery (%) | RSD | Recovery (%) | RSD |  | Recovery (%) | RSD | Recovery (%) | RSD | Recovery (%) | RSD | Recovery (%) | RSD | Recovery (%) | RSD | Recovery (%) | RSD |
| Acetaminophen | n.f.r | n.f.r | 111 | 12 |  | n.f.r | n.f.r | 97 | 1 | n.f.r | n.f.r | 92 | 8 | n.f.r | n.f.r | 99 | 8 |
| Atenolol | n.f.r | n.f.r | n.f.r | n.f.r |  | n.f.r | n.f.r | 74 | 1 | n.f.r | n.f.r | 152 | 19 | 82 | 17 | 95 | 9 |
| Atorvastatin | n.f.r | n.f.r | n.f.r | n.f.r |  | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | 107 | 10 | n.f.r | n.f.r | 89 | 11 |
| Azithromycin | 91 | 7 | 87 | 15 |  | 78 | 7 | 73 | 25 | 74 | 4 | 76 | 4 | 97 | 7 | 99 | 8 |
| Carbamazepine | 128 | 1 | 113 | 3 |  | 111 | 42 | 78 | 13 | 102 | 8 | 104 | 2 | 87 | 15 | 87 | 10 |
| Clarithromycin | 105 | 32 | 94 | 10 |  | 95 | 16 | 72 | 24 | 101 | 8 | 112 | 9 | 106 | 7 | 106 | 3 |
| Clotrimazole | 117 | 13 | 115 | 5 |  | 89 | 25 | 84 | 19 | 95 | 7 | 103 | 4 | 83 | 18 | 91 | 15 |
| Erythromycin A | 98 | 19 | 98 | 11 |  | 73 | 7 | 47 | 6 | 70 | 0 | 68 | 12 | 104 | 9 | 106 | 7 |
| Anhydroerythromycin A | n.f.r | n.f.r | 2 | 36 |  | 8 | 31 | 12 | 23 | 115 | 1 | 132 | 12 | 95 | 13 | 96 | 12 |
| Fluconazole | 100 | 8 | 95 | 31 |  | 80 | 3 | 90 | 12 | 99 | 12 | 91 | 16 | 96 | 11 | 98 | 4 |
| Gemfibrozil | 36 | 12 | 40 | 34 |  | n.f.r | n.f.r | 15 | 20 | n.f.r | n.f.r | 19 | 12 | 89 | 15 | 99 | 9 |
| Ibuprofen | n.f.r | n.f.r | n.f.r | n.f.r |  | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r |
| Irbesartan | 10 | 15 | 8 | 13 |  | 61 | 10 | 53 | 9 | 95 | 12 | 107 | 2 | 75 | 16 | 77 | 9 |
| Ketoprofen | n.f.r | n.f.r | n.f.r | n.f.r |  | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | 99 | 2 |
| Metoprolol | 72 | 33 | 80 | 14 |  | 124 | 14 | 121 | 24 | 117 | 47 | 96 | 9 | 98 | 1 | 104 | 2 |
| Miconazole | 121 | 21 | 121 | 17 |  | 83 | 4 | 74 | 13 | 109 | 14 | 120 | 5 | 92 | 8 | 94 | 4 |
| Naproxen | n.f.r | n.f.r | 10 | 23 |  | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r |
| o-Desmethylvenlafaxine | 99 | 18 | 94 | 15 |  | 97 | 26 | 95 | 4 | 105 | 2 | 98 | 26 | 97 | 5 | 103 | 2 |
| Sulfamethoxazole | 95 | 7 | 97 | 6 |  | 88 | 7 | 78 | 36 | 99 | 7 | 100 | 6 | 79 | 7 | 92 | 7 |
| Thiabendazole | 101 | 18 | 118 | 14 |  | 95 | 19 | 95 | 8 | 118 | 15 | 108 | 8 | 88 | 9 | 101 | 7 |
| Trimethoprim | 105 | 8 | 96 | 16 |  | 89 | 38 | 71 | 33 | 101 | 2 | 99 | 7 | n.f.r | n.f.r | n.f.r | n.f.r |
| Valsartan | n.f.r | n.f.r | n.f.r | n.f.r |  | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | 100 | 10 |
| Venlafaxine | 120 | 11 | 104 | 6 |  | 110 | 29 | 99 | 15 | 88 | 10 | 98 | 10 | 99 | 3 | 102 | 1 |

n.f.r.: not fulfilling requirements.

S4. Analytical methods validation

Table S6. Limits of detection (LODs), limits of quantification (LOQs) and validation results at low and high concentration levels for liquid samples (influent and effluent).

|  |  |  | 5 ng/L |  | 50 ng/L |  |
| --- | --- | --- | --- | --- | --- | --- |
| PhAC | LOD (ng/g) | LOQ (ng/g) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) |
| Acetaminophen | 0.6 | 5 | 88 | 8 | 93 | 7 |
| Atenolol | 0.5 | 5 | 86 | 9 | 89 | 9 |
| Atorvastatin | 0.1 | 5 | 104 | 15 | 101 | 12 |
| Azithromycin | 0.9 | 5 | 90 | 15 | 98 | 10 |
| Carbamazepine | 0.2 | 5 | 103 | 10 | 92 | 6 |
| Clarithromycin | 0.1 | 5 | 98 | 9 | 96 | 5 |
| Clotrimazole | 0.1 | 5 | 99 | 12 | 95 | 6 |
| Erythromycin A | 0.3 | 5 | 85 | 9 | 96 | 7 |
| Anhydroerythromycin A | 0.2 | 5 | 80 | 12 | 94 | 9 |
| Fluconazole | 0.1 | 5 | 79 | 10 | 90 | 4 |
| Gemfibrozil | 0.3 | 5 | 93 | 9 | 96 | 10 |
| Ibuprofen | 4.5 | 25 | 104 | 14 | 99 | 10 |
| Irbesartan | 0.3 | 5 | 97 | 9 | 100 | 6 |
| Ketoprofen | 1.1 | 5 | 92 | 8 | 97 | 9 |
| Metoprolol | 0.1 | 5 | 94 | 11 | 99 | 7 |
| Miconazole | 0.1 | 5 | 81 | 8 | 91 | 5 |
| Naproxen | 0.8 | 5 | 97 | 8 | 99 | 8 |
| O-desmethylvenlafaxine | 0.1 | 5 | 99 | 9 | 102 | 5 |
| Sulfamethoxazole | 0.3 | 5 | 93 | 12 | 95 | 10 |
| Thiabendazole | 0.2 | 5 | 101 | 7 | 98 | 8 |
| Trimethoprim | 0.1 | 5 | 100 | 8 | 96 | 3 |
| Valsartan | 0.3 | 5 | 88 | 11 | 97 | 6 |
| Venlafaxine | 0.3 | 5 | 98 | 16 | 101 | 7 |

Table S7. Limits of detection (LODs), limits of quantification (LOQs) and validation results at low and high concentration levels for sediment and sludge samples.

|  |  |  | 1 ng/g |  | 5 ng/g |  | 10 ng/g |  | 50 ng/g |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PhAC | LOD (ng/g) | LOQ (ng/g) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) |
| Acetaminophen | 5.2 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 83 | 11 | 88 | 6 |
| Atenolol | 1.7 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 79 | 11 | 91 | 11 |
| Atorvastatin | - | - | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r |
| Azithromycin | 0.3 | 1 | 77 | 13 | 85 | 11 | 91 | 9 | 95 | 7 |
| Carbamazepine | 1.4 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 94 | 18 | 104 | 2 |
| Clarithromycin | 0.1 | 1 | 90 | 14 | 94 | 10 | 100 | 9 | 100 | 3 |
| Clotrimazole | 1.3 | 5 | n.f.r | n.f.r | 82 | 15 | 97 | 11 | 99 | 5 |
| Erythromycin A | 1.0 | 5 | n.f.r | n.f.r | 76 | 18 | 83 | 11 | 87 | 9 |
| Anhydroerythromycin A | 0.1 | 1 | 92 | 17 | 94 | 11 | 95 | 8 | 101 | 5 |
| Fluconazole | 0.4 | 5 | n.f.r | n.f.r | 87 | 16 | 95 | 12 | 98 | 8 |
| Gemfibrozil | 5.8 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 74 | 10 | 83 | 9 |
| Ibuprofen | 6.2 | 50 | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | 85 | 11 |
| Irbesartan | 0.2 | 1 | 81 | 10 | 82 | 9 | 82 | 7 | 96 | 2 |
| Ketoprofen | 2.1 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 85 | 17 | 85 | 6 |
| Metoprolol | 2.1 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 88 | 15 | 90 | 12 |
| Miconazole | 0.2 | 1 | 72 | 16 | 75 | 13 | 78 | 10 | 80 | 7 |
| Naproxen | 1.6 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 78 | 10 | 91 | 17 |
| O-desmethylvenlafaxine | 0.6 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 87 | 8 | 99 | 1 |
| Sulfamethoxazole | 0.6 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 91 | 13 | 93 | 11 |
| Thiabendazole | 1.1 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 95 | 17 | 101 | 2 |
| Trimethoprim | 0.6 | 1 | 73 | 13 | 82 | 10 | 88 | 9 | 93 | 9 |
| Valsartan | 1.0 | 10 | n.f.r | n.f.r | n.f.r | n.f.r | 70 | 13 | 86 | 1 |
| Venlafaxine | 0.2 | 1 | 76 | 15 | 77 | 12 | 80 | 10 | 82 | 10 |

n.f.r.: not fulfilling requirements.

Atorvastatin did not fulfill SANTE guidance criteria.

Table S8. Limits of detection (LODs), limits of quantification (LOQs) and validation results at low and high concentration levels for fish samples.

|  |  |  | 5 ng/g |  | 10 ng/g |  | 50 ng/g |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PhAC | LOD (ng/g) | LOQ (ng/g) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) |
| Acetaminophen | 12 | 50 | n.f.r. | n.f.r. | n.f.r | n.f.r | 99 | 8 |
| Atenolol | 2.1 | 5 | 75 | 18 | 82 | 17 | 95 | 9 |
| Atorvastatin | 4.5 | 50 | n.f.r. | n.f.r. | n.f.r | n.f.r | 89 | 11 |
| Azithromycin | 1.2 | 5 | 84 | 12 | 94 | 8 | 99 | 7 |
| Carbamazepine | 0.7 | 5 | 76 | 19 | 87 | 15 | 87 | 10 |
| Clarithromycin | 1.1 | 5 | 97 | 11 | 106 | 7 | 106 | 3 |
| Clotrimazole | 2.0 | 5 | 81 | 18 | 83 | 18 | 91 | 15 |
| Erythromycin A | 1.4 | 5 | 94 | 13 | 104 | 9 | 106 | 7 |
| Anhydroerythromycin A | 1.1 | 5 | 86 | 17 | 95 | 13 | 96 | 12 |
| Fluconazole | 0.8 | 5 | 89 | 15 | 96 | 11 | 98 | 4 |
| Gemfibrozil | 2.3 | 5 | 86 | 17 | 89 | 15 | 99 | 9 |
| Ibuprofen | - | - | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r |
| Irbesartan | 1.2 | 10 | n.f.r. | n.f.r. | 75 | 16 | 77 | 9 |
| Ketoprofen | 9.5 | 50 | n.f.r. | n.f.r. | n.f.r | n.f.r | 99 | 2 |
| Metoprolol | 0.6 | 10 | n.f.r. | n.f.r. | 98 | 1 | 104 | 2 |
| Miconazole | 3.4 | 5 | 86 | 16 | 92 | 8 | 94 | 4 |
| Naproxen | - | - | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r | n.f.r |
| O-desmethylvenlafaxine | 0.4 | 5 | 81 | 9 | 97 | 5 | 103 | 2 |
| Sulfamethoxazole | 1.9 | 10 | n.f.r | n.f.r | 79 | 7 | 92 | 7 |
| Thiabendazole | 0.6 | 5 | 79 | 14 | 88 | 9 | 101 | 7 |
| Trimethoprim | - | - | n.f.r. | n.f.r. | n.f.r | n.f.r | n.f.r | n.f.r |
| Valsartan | 6.4 | 50 | n.f.r. | n.f.r. | n.f.r | n.f.r | 100 | 10 |
| Venlafaxine | 0.4 | 5 | 87 | 12 | 99 | 3 | 102 | 1 |

n.f.r.: not fulfilling requirements.

Ibuprofen, naproxen and trimethoprim did not fulfill SANTE guidance criteria and this method could not be validated for these compounds.

Table S9. Equations used in the calculation of Predicted Environmental Concentrations and Predicted No-Effect Concentrations.

|  | Parameter | Formula | Ref |
| --- | --- | --- | --- |
| 1 | RHOsusp/soil | RHOsusp/soil=Fsolidsusp/soil×RHOsolid+Fwatersusp/soil×RHOwater+Fairsusp/soil×RHOair | Eq. R.16-1a |
| 2 | kvolatilisation | 1kvolatilisation=1kaslair×Kair-waterKsoil-water+1kaslsoil×DEPTHsoil | Eq. R.16-45a |
| 3 | Kair-water | Kair-water=HENRYR×TEMP | Eq. R.16-5a |
| 4 | Ksusp/soil-water | Ksusp/soil-water=Fairsusp/soil×Kair-water+Fwatersusp/soil+Fsolidsusp/soil×Kpsusp/soil1000×RHOsolid | Eq. R.16-7a |
| 5 | Kpsusp/soil | Kpsusp/soil=Focsusp/soil×Koc | Eq. R.16-6a |
| 6 | kleaching | kleaching=Finfsoil×RAINrateKsoil-water×DEPTHsoil | Eq. R.16-46a |
| 7 | kbiosoil | kbiosoil=Ln2DT50biosoil | Eq. R.16-13a |
| 8 | BCFearthworms | BCFearthworm=(0.84+0.012KOW)/RHOearthworm | Eq. R.16-66a |
| 9 | Cporewater | Cporewater=PEClocalsoil, porewater=Csoil×RHOsoilKsoil-water×1000 | Eq. R.16-57b |
| 10 | CONVsoil | CONVsoil=RHOsoilFsolid×RHOsolid | Eq. R.16-64a |

a: ECHA, 2016a

b: ECHA, 2016b

Table S10. General parameters used in the calculation of Predicted Environmental Concentrations and Predicted No-Effect Concentrations for the different compartments.

| Parameter | Value | Ref |
| --- | --- | --- |
| APPL (Kg/m2) | 3.35 | Navarro et al., 2018 |
| DEPTH (m) | 0.2 | Table R.16-15a |
| Fsolidsusp (m3/m3) | 0.1 | Table R.16-8a |
| Fsolidsoil (m3/m3) | 0.6 | Table R.16-8a |
| Fwatersusp (m3/m3) | 0.9 | Table R.16-8a |
| Fwatersoil (m3/m3) | 0.2 | Table R.16-8a |
| Fairsusp (m3/m3) | 0 (only relevant in soil) | Page 88a |
| Fairsoil (m3/m3) | 0.2 | Table R.16-8a |
| RHOsolid (Kg/m3) | 2500 | Table R.16-8a |
| RHOwater (Kg/m3) | 1000 | Table R.16-8a |
| RHOair (Kg/m3) | 1.3 | Table R.16-8a |
| RHOearthworm (Kg/L) | 1 | Page 134a |
| kaslair (m/d) | 120 | Navarro et al., 2018 |
| kaslsoil (m/d) | 0.48 | Navarro et al., 2018 |
| HENRY (Pa*m3/mol) | Henry's constant for each target PhAC | Table S1 |
| R (Pa*m3/mol*K) | 8.314 | Page 91a |
| T (K) | 285 | Page 91a |
| Focsoil (Kg/Kg) | 0.02 | Table R.16-8a |
| Focsusp (Kg/Kg) | 0.1 | Table R.16-8a |
| KOC (L/Kg) | Partition coefficient organic carbon-water for each target PhAC | Table S1 |
| KOW (L/Kg) | n-Octanol/Water Partition Coefficient for each target PhAC | Table S1 |
| Finfsoil | 0.25 | Page 125a |
| RAINrate (m/d) | 1.92x10-3 | Page 125a |
| DT50biosoil | Half-life in soil for each target PhAC | Table R.16-12a |
| Fgut (Kg/Kg) | 0.1 | Page 133a |

a: ECHA 2016a

Table S11. Median, average ± standard deviation, minimum - maximum concentrations (ng/g) and quantification and detection frequency for PhACs in influent and effluent wastewater.

|  | WWTP 1 Influent water |  |  |  |  | WWTP 1 Effluent water |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Median (ng/L) | Average ± SD (ng/L) | Min-Max (ng/L) | Qf % | Df % | Median (ng/L) | Average ± SD (ng/L) | Min-Max (ng/L) | Qf % | Df % |
| Acetaminophen | 19526 | 21558 ±7301 | 15619 - 31563 | 100 | 100 | - | - | 26 | 25 | 25 |
| Atenolol | 1621 | 2400 ± 2016 | 971 - 5389 | 100 | 100 | 72 | 72 ± 87 | 11 - 134 | 50 | 50 |
| Atorvastatin | 814 | 769 ± 358 | 390 - 1103 | 75 | 75 | n.d. | n.d. | n.d. | 0 | 0 |
| Azithromycin | 719 | 880 ± 952 | 47 - 2036 | 100 | 100 | 11 | 44 ± 57 | 10 - 110 | 75 | 75 |
| Carbamazepine | 77 | 77 ± 45 | 30 - 123 | 100 | 100 | 55 | 50 ± 22 | 23 - 69 | 100 | 100 |
| Clarithromycin | 512 | 724 ± 794 | 68 - 1805 | 100 | 100 | 15 | 42 ± 63 | <LOQ - 136 | 75 | 100 |
| Clotrimazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Erythromycin A | n.d. | n.d. | n.d. | 0 | 0 | 22 | 29 ± 27 | 5.7 - 67 | 75 | 75 |
| Anhydroerythromycin A | 211 | 292 ± 289 | 62 - 683 | 100 | 100 | 33 | 50 ± 49 | 15 - 119 | 100 | 100 |
| Fluconazole | 245 | 276 ± 143 | 149 - 466 | 100 | 100 | 99 | 96 ± 55 | 40 - 148 | 100 | 100 |
| Gemfibrozil | 678 | 699 ± 180 | 505 - 935 | 100 | 100 | 658 | 686 ± 341 | 376 - 1051 | 100 | 100 |
| Ibuprofen | 15437 | 18774 ± 11119 | 9349 - 34874 | 100 | 100 | - | - | 458 | 25 | 25 |
| Irbesartan | 10910 | 12513 ± 10360 | 3069 - 25163 | 100 | 100 | 2829 | 2942 ± 1250 | 1577 - 4530 | 100 | 100 |
| Ketoprofen | 2021 | 2127 ± 693 | 1428 - 3038 | 100 | 100 | 194 | 278 ± 240 | 96 - 627 | 100 | 100 |
| Metoprolol | n.d. | n.d. | n.d. | 0 | 0 | 6.0 | 6.5 ± 3.2 | <LOQ - 10 | 50 | 75 |
| Miconazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Naproxen | 5568 | 5616 ± 3769 | 1991 - 9336 | 100 | 100 | 24 | 27 ± 15 | 12 - 46 | 100 | 100 |
| o-Desmethylvenlafaxine | 1397 | 2211 ± 2264 | 546 - 5503 | 100 | 100 | 630 | 568 ± 255 | 229 - 784 | 100 | 100 |
| Sulfamethoxazole | 353 | 369 ± 186 | 158 - 612 | 100 | 100 | 29 | 32 ± 20 | 15 - 54 | 100 | 100 |
| Thiabendazole | 75 | 68 ± 18 | 47 - 81 | 75 | 75 | 14 | 22 ± 22 | 6.7 - 54 | 100 | 100 |
| Trimethoprim | 447 | 733 ± 795 | 141 - 1900 | 100 | 100 | 11 | 11 ± 6.4 | 6.8 - 16 | 50 | 50 |
| Valsartan | 15929 | 16425 ± 9573 | 7941 - 25901 | 100 | 100 | 1171 | 1423 ± 1277 | 169 - 3179 | 100 | 100 |
| Venlafaxine | 531 | 704 ± 676 | 138 - 1618 | 100 | 100 | 244 | 219 ± 81 | 102 - 288 | 100 | 100 |
| ∑PhACs | 85421 | 87007 ± 40684 | 49233 - 127954 | - | - | 5067 | 63877 ± 2899 | 2764 - 10665 | - | - |

n.d.: not detected
    <LOQ: below limit of quantification
    Qf: quantification frequency
    Df: detection frequency

Table S11. (continued).

|  | WWTP 2 Influent water |  |  |  |  | WWTP 2 Effluent water |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Median (ng/L) | Average ± SD (ng/L) | Min-Max (ng/L) | Qf % | Df % | Median (ng/L) | Average ± SD (ng/L) | Min-Max (ng/L) | Qf % | Df % |
| Acetaminophen | 16119 | 23646 ± 16517 | 13970 - 48375 | 100 | 100 | 16 | 16 ± 12 | 7.3 - 25 | 50 | 50 |
| Atenolol | 1294 | 1896 ± 1602 | 738 - 4258 | 100 | 100 | 94 | 140 ± 118 | 56 - 314 | 100 | 100 |
| Atorvastatine | 139 | 137 ± 49 | 89 - 184 | 100 | 100 | n.d. | n.d. | n.d. | 0 | 0 |
| Azithromycin | 103 | 122 ± 54 | 83 - 198 | 100 | 100 | 24 | 39 ± 35 | 18 - 91 | 100 | 100 |
| Carbamazepine | 32 | 32 ± 12 | 19 - 45 | 100 | 100 | 55 | 51 ± 13 | 32 - 63 | 100 | 100 |
| Clarithromycin | 75 | 80 ± 32 | 50 - 119 | 100 | 100 | 30 | 49 ± 42 | 24 - 111 | 100 | 100 |
| Clotrimazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Erythromycin A | n.d. | n.d. | n.d. | 0 | 25 | 6.0 | 6.4 ± 2.8 | 5.1 - 10 | 75 | 100 |
| Anhydroerythromycin A | 43 | 47 ± 17 | 32 - 71 | 100 | 100 | 13 | 16 ± 10 | 7.1 - 29 | 100 | 100 |
| Fluconazole | 70 | 71 ± 37 | 26 - 117 | 100 | 100 | 69 | 64 ± 27 | 30 - 90 | 100 | 100 |
| Gemfibrozil | 53 | 59 ± 31 | 33 - 98 | 100 | 100 | 53 | 70 ± 68 | 12 - 161 | 100 | 100 |
| Ibuprofen | 3636 | 3532 ± 2607 | 890 - 5966 | 100 | 100 | - | - | 326 | 25 | 25 |
| Irbesartan | 1329 | 1342 ± 229 | 1099 - 1611 | 100 | 100 | 1557 | 1686 ± 397 | 1366 - 2266 | 100 | 100 |
| Ketoprofen | 546 | 594 ± 229 | 379 - 904 | 100 | 100 | 59 | 77 ± 86 | 5.8 - 183 | 100 | 100 |
| Metoprolol | n.d. | n.d. | n.d. | 0 | 0 | 15 | 13 ± 3.8 | 8.1 - 16 | 100 | 100 |
| Miconazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Naproxen | 1473 | 1574 ± 377 | 1259 - 2094 | 100 | 100 | 10 | 9.5 ± 1.8 | 8.2 - 11 | 50 | 50 |
| o-Desmethylvenlafaxine | 668 | 668 ± 157 | 557 - 779 | 50 | 50 | 491 | 525 ± 179 | 348 - 773 | 100 | 100 |
| Sulfamethoxazole | 221 | 262 ± 143 | 147 - 457 | 100 | 100 | 62 | 62 ± 11 | 53 - 71 | 100 | 100 |
| Thiabendazole | - | - | 5.8 | 25 | 25 | 10 | 9.0 ± 3.1 | 5.1 - 12 | 100 | 100 |
| Trimethoprim | 101 | 145 ± 105 | 78 - 301 | 100 | 100 | 41 | 52 ± 36 | 25 - 103 | 100 | 100 |
| Valsartan | 6584 | 6777 ± 2176 | 4329 - 9612 | 100 | 100 | 430 | 1370 ± 2098 | 130 - 4491 | 100 | 100 |
| Venlafaxine | 187 | 187 ± 100 | 116 - 258 | 50 | 50 | 211 | 229 ± 81 | 153 - 343 | 100 | 100 |
| ∑PhACs | 32495 | 40746 ± 19736 | 28096 -69895 | - | - | 3194 | 4553 ± 3025 | 2764 - 9061 | - | - |

n.d.: not detected
    <LOQ: below limit of quantification
    Qf: quantification frequency
    Df: detection frequency

Table S12. Median mass flow rates (g/day) of the PhACs quantified in WWTPs in influent, effluent and sludge before and after digesters. RE: removal efficiency.

|  | WWTP 1 |  |  |  |  |  |  | WWTP 2 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Wastewater line |  | Sewage sludge line |  |  |  |  | Wastewater line |  | Sewage sludge line |  |  |  |  |
| Compound | Influent | Effluent | Before digester | After digester | In | Out | RE total (%) | Influent | Effluent | Before digester | After digester | In | Out | RE total (%) |
| Acetaminophen | 197 | - | 1.5 | - | 197 | - | 100 | 274 | 0.4 | 1.0 | - | 274 | 0.4 | 100 |
| Atenolol | 14 | 0.6 | - | - | 14 | 0.6 | 96 | 18 | 1.7 | 0.1 | - | 18 | 1.7 | 91 |
| Atorvastatin | 7.1 | - | - | - | 7.1 | - | 100 | 2.2 | - | - | - | 2.2 | - | 100 |
| Azithromycin | 6.3 | 0.1 | - | - | 6.3 | 0.1 | 98 | 1.8 | 0.4 | - | 2.3 | 1.8 | 2.7 | <0 |
| Carbamazepine | 0.7 | 0.5 | - | - | 0.7 | 0.5 | 29 | 0.5 | 0.7 | - | - | 0.5 | 0.7 | <0 |
| Clarithromycin | 4.4 | 0.1 | - | - | 4.4 | 0.1 | 98 | 1.2 | 0.6 | 0.1 | - | 1.2 | 0.6 | 50 |
| Clotrimazole | - | - | 1.3 | 4.8 | - | - | - | - | - | 0.2 | 2.7 | - | 2.7 | - |
| Erythromycin A | - | 0.2 | - | - | - | 0.2 | - | - | 0.1 | - | - | - | 0.1 | - |
| Anhydroerythromycin A | 2.3 | 0.3 | - | - | 2.3 | 0.3 | 87 | 0.9 | 0.2 | - | - | 0.9 | 0.2 | 78 |
| Fluconazole | 2.4 | 0.8 | - | - | 2.4 | 0.8 | 67 | 0.9 | 0.9 | - | - | 0.9 | 0.9 | 0 |
| Gemfibrozil | 6.2 | 5.6 | 0.3 | 1.2 | 6.2 | 6.8 | <0 | 0.8 | 1.1 | 0.1 | 0.4 | 0.8 | 1.5 | <0 |
| Ibuprofen | 122 | - | - | - | 122 | - | 100 | 54 | - | 0.9 | 1.2 | 54 | 1.2 | 98 |
| Irbesartan | 95 | 27 | 0.8 | 3.1 | 95 | 30 | 68 | 24 | 27 | 0.5 | 1.5 | 24 | 29 | <0 |
| Ketoprofen | 21 | 1.7 | - | - | 21 | 1.7 | 92 | 8.6 | 1.2 | 0.1 | - | 8.6 | 1.2 | 86 |
| Metoprolol | - | 0.1 | - | - | - | - | - | - | 0.2 | - | - | - | 0.2 | - |
| Miconazole | - | - | 0.4 | 2.4 | - | - | - | - | - | 0.1 | 1.7 | - | 1.7 | - |
| Naproxen | 48 | 0.2 | - | - | 48 | 0.2 | 100 | 27 | 0.2 | - | - | 27 | 0.2 | 99 |
| o-Desmethylvenlafaxine | 12 | 5.0 | 0.4 | 2.0 | 12 | 7.00 | 42 | 12 | 7.5 | 0.2 | 0.7 | 12 | 8.2 | 32 |
| Sulfamethoxazole | 2.8 | 0.2 | - | - | 2.8 | 0.2 | 93 | 3.6 | 1.0 | - | - | 3.6 | 1.0 | 72 |
| Thiabendazole | 0.6 | 0.1 | - | 0.2 | 0.6 | 0.3 | 50 | - | 0.1 | 0.03 | - | - | 0.1 | - |
| Trimethoprim | 3.8 | 0.1 | - | - | 3.8 | 0.1 | 97 | 1.8 | 0.8 | 0.02 | - | 1.8 | 0.8 | 56 |
| Valsartan | 138 | 11 | 0.4 | 1.0 | 138 | 12 | 91 | 96 | 9.6 | 0.3 | 0.8 | 96 | 10 | 89 |
| Venlafaxine | 4.6 | 2.1 | 0.4 | 0.5 | 4.6 | 2.6 | 45 | 3.1 | 3.3 | 0.5 | 1.6 | 3.1 | 4.9 | <0 |
| ∑PhACs | 688 | 56 | 5.5 | 15 | 688 | 71 | 90 | 530 | 57 | 4.2 | 13 | 530 | 70 | 87 |

Figure S3. Contribution (%) to the ∑PhACs concentration in the effluents (WWTP 1 and WWTP 2) and Tagus River surface water.

Table S13. Removal efficiency (RE) of wastewater at evaluated WWTPs.

|  | WWTP 1 |  |  | WWTP 2 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Influent median concentration (ng/L) | Effluent median concentration (ng/L) | RE% | Influent median concentration (ng/L) | Effluent median concentration (ng/L) | RE% | RE (%) Mean |
| Acetaminophen | 19526 | 26 | 100 | 16119 | 16 | 100 | 100 |
| Atenolol | 1621 | 72 | 96 | 1294 | 94 | 93 | 95 |
| Atorvastatin | 814 | n.d. | 100 | 139 | n.d. | 100 | 100 |
| Azithromycin | 719 | 11 | 98 | 103 | 24 | 77 | 88 |
| Carbamazepine | 77 | 55 | 29 | 32 | 55 | <0 | 15 |
| Clarithromycin | 512 | 15 | 97 | 75 | 30 | 60 | 79 |
| Clotrimazole | n.d. | n.d. | - | n.d. | n.d. | - | - |
| Erythromycin A | n.d. | 22 | <0 | n.d. | 6 | <0 | <0 |
| Anhydroerythromycin A | 211 | 33 | 84 | 43 | 13 | 69 | 77 |
| Fluconazole | 245 | 99 | 60 | 70 | 69 | 2 | 31 |
| Gemfibrozil | 678 | 658 | 3 | 53 | 53 | 0 | 2 |
| Ibuprofen | 15437 | 458 | 97 | 3636 | 326 | 91 | 94 |
| Irbesartan | 10910 | 2829 | 74 | 1329 | 1557 | <0 | 37 |
| Ketoprofen | 2021 | 194 | 90 | 546 | 59 | 89 | 90 |
| Metoprolol | n.d. | 6 | <0 | n.d. | 15 | <0 | <0 |
| Miconazole | n.d. | n.d. | - | n.d. | n.d. | - | - |
| Naproxen | 5568 | 24 | 100 | 1473 | 10 | 99 | 100 |
| o-Desmethylvenlafaxine | 1397 | 630 | 55 | 668 | 491 | 27 | 41 |
| Sulfamethoxazole | 353 | 29 | 92 | 221 | 62 | 72 | 82 |
| Thiabendazole | 75 | 14 | 81 | 6 | 10 | - | - |
| Trimethoprim | 447 | 11 | 97 | 101 | 41 | 60 | 79 |
| Valsartan | 15929 | 1171 | 93 | 6584 | 430 | 93 | 93 |
| Venlafaxine | 531 | 244 | 54 | 187 | 211 | <0 | 27 |

n.d.: not detected

Table S14. Spearman's Rho correlation matrix obtained with the median concentrations of each compound in each environmental compartment and physicochemical properties of each PhAC.

|  |  |  | WWTP Influent | WWTP Effluent | WWTP sludge before digester | WWTP sludge after digester | River water | River sediment | Fish | Water solubility | LogKoc | LogKow | pKa |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WWTP Influent | Correlation coefficient | 1 |  |  |  |  |  |  |  |  |  |  |
|  |  | N | 19 |  |  |  |  |  |  |  |  |  |  |
|  | WWTP Effluent | Correlation coefficient | .491(*) | 1 |  |  |  |  |  |  |  |  |  |
|  |  | N | 18 | 20 |  |  |  |  |  |  |  |  |  |
|  | WWTP sludge before digester | Correlation coefficient | .723(**) | 0.446 | 1 |  |  |  |  |  |  |  |  |
|  |  | N | 14 | 14 | 16 |  |  |  |  |  |  |  |  |
|  | WWTP sludge after digester | Correlation coefficient | 0.15 | 0.45 | .691(*) | 1 |  |  |  |  |  |  |  |
|  |  | N | 9 | 9 | 11 | 11 |  |  |  |  |  |  |  |
|  | River water | Correlation coefficient | 0.345 | .739(**) | 0.402 | -0.083 | 1 |  |  |  |  |  |  |
|  |  | N | 18 | 20 | 14 | 9 | 20 |  |  |  |  |  |  |
|  | River sediment | Correlation coefficient | 0.617 | 0.103 | 0.1 | -0.371 | 0.17 | 1 |  |  |  |  |  |
|  |  | N | 9 | 10 | 9 | 6 | 10 | 12 |  |  |  |  |  |
|  | Fish | Correlation coefficient | . | . | -1 | 1.000(**) | . | -1 | 1 |  |  |  |  |
|  |  | N | 1 | 1 | 2 | 2 | 1 | 2 | 2 |  |  |  |  |
|  | Water solubility | Correlation coefficient | 0.126 | -0.037 | -0.182 | -0.545 | 0.182 | 0.364 | -1 | 1 |  |  |  |
|  |  | N | 19 | 20 | 16 | 11 | 20 | 12 | 2 | 23 |  |  |  |
|  | LogKoc | Correlation coefficient | 0.11 | 0.065 | -0.041 | -0.064 | -0.109 | -0.252 | 1.000(**) | -.574(**) | 1 |  |  |
|  |  | N | 19 | 20 | 16 | 11 | 20 | 12 | 2 | 23 | 23 |  |  |
|  | LogKow | Correlation coefficient | 0.146 | 0.123 | 0.256 | 0.4 | -0.06 | -0.322 | 1.000(**) | -.879(**) | .754(**) | 1 |  |
|  |  | N | 19 | 20 | 16 | 11 | 20 | 12 | 2 | 23 | 23 | 23 |  |
|  | pKa | Correlation coefficient | -0.154 | -0.231 | 0.382 | 0.771 | -0.237 | 0.643 | . | 0.038 | -0.39 | -0.431 | 1 |
|  |  | N | 13 | 13 | 10 | 6 | 13 | 7 | 1 | 15 | 15 | 15 | 15 |
| * | The correlation is significant at the 0.05 level (bilateral) |  |  |  |  |  |  |  |  |  |  |  |  |
| ** | The correlation is significant at the 0.01 level (bilateral) |  |  |  |  |  |  |  |  |  |  |  |  |

Table S15. Median, average ± standard deviation, minimum – maximum concentration (ng/g), quantification and detection frequency for PhACs found in WWTP sludge.

|  | WWTP 1 before digester |  |  |  |  | WWTP 1 after digester |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Median (ng/g) | Average ± SD (ng/g) | Min-Max (ng/g) | Qf % | Df % | Median (ng/g) | Average ± SD (ng/g) | Min-Max (ng/g) | Qf % | Df % |
| Acetaminophen | 109 | 109 ± 87 | 48 - 171 | 50 | 50 | n.d. | n.d. | n.d. | 0 | 0 |
| Atenolol | - | - | 16 | 25 | 25 | n.d. | n.d. | n.d. | 0 | 0 |
| Atorvastatin | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Azithromycin | - | - | 23 | 25 | 25 | n.d. | n.d. | n.d. | 0 | 0 |
| Carbamazepine | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Clarithromycin | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Clotrimazole | 127 | 130 ± 37 | 94 – 171 | 100 | 100 | 128 | 130 ± 9.2 | 120 - 142 | 100 | 100 |
| Erythromycin A | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Anhydroerythromycin A | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Fluconazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Gemfibrozil | 44 | 38 ± 25 | 11 – 60 | 75 | 75 | 34 | 35 ± 8.0 | 27 - 44 | 100 | 100 |
| Ibuprofen | - | - | 114 | 25 | 25 | - | - | 81 | 25 | 25 |
| Irbesartan | 90 | 93 ± 38 | 58 – 132 | 100 | 100 | 100 | 91 ± 31 | 46 - 118 | 100 | 100 |
| Ketoprofen | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Metoprolol | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Miconazole | 47 | 55 ± 17 | 44 – 74 | 75 | 75 | 65 | 66 ± 5.9 | 60 - 73 | 100 | 100 |
| Naproxen | - | - | 56 | 25 | 25 | n.d. | n.d. | n.d. | 0 | 0 |
| o-Desmethylvenlafaxine | 28 | 32 ± 18 | 15 - 57 | 100 | 100 | 56 | 56 ± 12 | 42 - 69 | 100 | 100 |
| Sulfamethoxazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Thiabendazole | - | - | - | 25 | 25 | 11 | 11 ± 0.41 | 10 - 11 | 50 | 50 |
| Trimethoprim | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Valsartan | 39 | 39 ± 15 | 20 - 56 | 100 | 100 | 32 | 33 ± 6.8 | 27 - 42 | 100 | 100 |
| Venlafaxine | 27 | 29 ± 8.1 | 22 - 38 | 75 | 75 | 11 | 11 ± 1.5 | 10 - 12 | 50 | 50 |
| ∑PhACs | 549 | 495 ± 171 | 254 - 628 | - | - | 438 | 442 ± 44 | 402 - 489 | - | - |

n.d.: not detected
    Qf: quantification frequency
    Df: detection frequency

Table S15. (continued).

|  | WWTP 2 before digester |  |  |  |  |  | WWTP 2 after digester |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Median (ng/g) | Average ± SD (ng/g) | Min-Max (ng/g) | Qf % | Df % | Median (ng/g) |  | Average ± SD (ng/g) | Min-Max (ng/g) | Qf % | Df % |
| Acetaminophen | 213 | 213 ± 76 | 159 - 267 | 50 | 50 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Atenolol | 12 | 12 ± 2.4 | 10 - 14 | 50 | 50 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Atorvastatin | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Azithromycin | - | - | - | 25 | 25 | 134 |  | 147 ± 52 | 98 - 220 | 100 | 100 |
| Carbamazepine | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Clarithromycin | 12 | 11 ± 8.6 | 1.4 - 18 | 75 | 75 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Clotrimazole | 63 | 63 ± 27 | 31 - 97 | 100 | 100 | 177 |  | 183 ± 63 | 123 - 256 | 100 | 100 |
| Erythromycin A | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Anhydroerythromycin A | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Fluconazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Gemfibrozil | 26 | 26 ± 11 | 19 - 34 | 50 | 50 | 15 |  | 15 ± 6.4 | 11 - 20 | 50 | 50 |
| Ibuprofen | 174 | 174 ± 38 | 147 - 201 | 50 | 50 | 87 |  | 87 ± 74 | 35 - 140 | 50 | 50 |
| Irbesartan | 178 | 179 ± 94 | 81 - 279 | 100 | 100 | 105 |  | 102 ± 60 | 40 - 159 | 100 | 100 |
| Ketoprofen | 10 | 10 ± 0.21 | 10 - 11 | 50 | 50 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Metoprolol | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Miconazole | 39 | 47 ± 39 | 8.9 - 102 | 100 | 100 | 113 |  | 103 ± 62 | 19 - 167 | 100 | 100 |
| Naproxen | - | - | 17 | 25 | 25 | - |  | - | 13 | 25 | 25 |
| o-Desmethylvenlafaxine | 49 | 90 ± 96 | 29 - 233 | 100 | 100 | 40 |  | 50 ± 30 | 25 - 93 | 100 | 100 |
| Sulfamethoxazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Thiabendazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Trimethoprim | 8.9 | 11 ± 6.6 | 5.2 - 18 | 75 | 75 | n.d. |  | n.d. | n.d. | 0 | 0 |
| Valsartan | 91 | 135 ± 81 | 85 - 228 | 75 | 75 | 56 |  | 55 ± 18 | 38 - 71 | 100 | 100 |
| Venlafaxine | 101 | 129 ± 105 | 44 - 271 | 100 | 100 | 75 |  | 97 ± 46 | 71 - 166 | 100 | 100 |
| ∑PhACs | 862 | 870 ± 173 | 668 - 1089 | - | - | 862 |  | 870 ± 206 | 581 - 1027 | - | - |

n.d.: not detected
Qf: quantification frequency
Df: detection frequency

Table S16. Median, average ± standard deviation, minimum - maximum concentration and quantification and detection frequency for PhACs found in the river basin (river sediment and fish).

|  | River Sediment |  |  |  |  | Fish |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Median (ng/g) | Average ± SD (ng/g) | Min-Max (ng/g) | Qf % | Df % | Median (ng/g) | Average ± SD (ng/g) | Min-Max (ng/g) | Qf % | Df % |
| Acetaminophen | - | - | 63 | 4 | 4 | n.d. | n.d. | n.d. | 0 | 0 |
| Atenolol | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Atorvastatin | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Azithromycin | 14 | 14 ± 11 | 1.8 - 53 | 61 | 61 | - | - | 160 | 4 | 4 |
| Carbamazepine | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Clarithromycin | 15 | 19 ± 14 | 1.4 - 61 | 61 | 61 | n.d. | n.d. | n.d. | 0 | 0 |
| Clotrimazole | 21 | 20 ± 10 | 7.1 - 35 | 61 | 61 | 7.8 | 7.7 ± 1.7 | 5.8 - 9.5 | 17 | 17 |
| Erythromycin A | 14 | 22 ± 20 | 8.1 - 45 | 11 | 11 | n.d. | n.d. | n.d. | 0 | 0 |
| Anhydroerythromycin A | 2.5 | 3.7 ± 3.8 | 1.1 - 16 | 54 | 54 | n.d. | n.d. | n.d. | 0 | 0 |
| Fluconazole | - | - | 5.1 | 4 | 4 | n.d. | n.d. | n.d. | 0 | 0 |
| Gemfibrozil | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Ibuprofen | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Irbesartan | 6.3 | 7.8 ± 6.5 | 1.1 - 24 | 61 | 61 | n.d. | n.d. | n.d. | 0 | 0 |
| Ketoprofen | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Metoprolol | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Miconazole | 7.4 | 10 ± 9.8 | 1.5 - 38 | 57 | 57 | n.d. | n.d. | n.d. | 0 | 0 |
| Naproxen | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| o-Desmethylvenlafaxine | 47 | 46 ± 27 | 7.1 - 95 | 68 | 68 | n.d. | n.d. | n.d. | 0 | 0 |
| Sulfamethoxazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Thiabendazole | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Trimethoprim | 10 | 7.5 ± 3.7 | 3.1 - 10 | 11 | 11 | n.d. | n.d. | n.d. | 0 | 0 |
| Valsartan | n.d. | n.d. | n.d. | 0 | 0 | n.d. | n.d. | n.d. | 0 | 0 |
| Venlafaxine | 24 | 23 ± 19 | 1.2 - 70 | 75 | 75 | n.d. | n.d. | n.d. | 0 | 0 |

n.d.: not detected
Qf: quantification frequency
Df: detection frequency

Table S17. PhACs data previously reported for sediments in the literature.

| Compound | Median (Average) (ng/g) | Min - Max (ng/g) | Df (%) | Qf (%) | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Acetaminophen | 63 (63) | 63 | 4 | 4 | 1/28 | This study |
|  | 30 | - | 11 | - | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | <5.0 | <5.0 | 62 | - | - | Huber et al., 2016 |
|  | 19 (32) | <LOQ - 222 | 86 | 63 | 14/22 | Da Silva et al., 2011 |
|  | n.d. | n.d. | 0 | 0 | - | Sun et al., 2021 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
|  | (0.66) | 2.0 - 4.0 | 58 | 17 | 2/12 | Vazquez-Roig et al., 2011 |
| Atenolol | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | - | 0.4 | - | - | - | Biel-Maeso et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | - | <5.0 - 59 | 62 | - | - | Huber et al., 2016 |
|  | 1.2 (1.6) | <LOQ - 3.8 | 95 | 55 | 12/22 | Da Silva et al., 2011 |
|  | (2.7) | (1.4 - 5.0) | 40 | 40 | - | Valdés et al., 2023 |
| Atorvastatin | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | 0.6 (0.8) | <LOQ - 3.0 | 95 | 68 | 15/22 | Da Silva et al., 2011 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
| Azithromycin | 14 (14) | 1.8 - 53 | 61 | 61 | 17/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | - | 2.3 | - | - | - | Čelić et al., 2019 |
|  | (16) | <LOQ - 27 | 30 | 20 | - | Valdés et al., 2023 |
| Carbamazepine | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | 0.2 (0.3) | 0.07 - 0.8 | - | - | - | Biel-Maeso et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | (1.1) | 0 | - | - | - | Čelić et al., 2019 |
|  | 0.9 (1.2) | <LOQ - 2.8 | 91 | 41 | 9/22 | Da Silva et al., 2011 |
|  | (0.7) | 0.3 - 2.1 | 40 | 40 | - | Valdés et al., 2023 |
|  | (0.9) | 0.6 - 2.1 | 92 | 67 | 8/12 | Vazquez-Roig et al., 2011 |
| Clarithromycin | 15 (19) | 1.4 - 61 | 61 | 61 | 17/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | - | 1.1 | - | - | - | Čelić et al., 2019 |
|  | 0.9 (1.8) | <LOQ - 9.9 | 91 | 77 | 17/22 | Da Silva et al., 2011 |
|  | (4.8) | <LOQ - 6 | 30 | 20 | - | Valdés et al., 2023 |
| Clotrimazole | 21 (20) | 7.1 - 35 | 61 | 61 | 17/28 | This study |

Table S17. (continued).

| Compound | Median (Average) (ng/g) | Min - Max (ng/g) | Df (%) | Qf (%) | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Erythromycin A | 14 (22) | 8.1 - 45 | 11 | 11 | 3/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | n.d. | n.d. | - | - | - | Čelić et al., 2019 |
|  | 30 (30) | <LOQ - 33 | 50 | 9 | 2/22 | Da Silva et al., 2011 |
|  | 50 | - | - | 100 | - | Sun et al., 2021 |
| Anhydroerythromycin A | 2.5 (3.7) | 1.1 - 16 | 54 | 54 | 15/28 | This study |
| Fluconazole | 5.1 (5.1) | 5.1 | 4 | 4 | 1/28 | This study |
| Gemfibrozil | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | 0.1 (0.2) | 0.1 - 0.4 | - | - | - | Biel-Maeso et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | 1.2 (1.9) | <LOQ - 5.2 | 55 | 36 | 8/22 | Da Silva et al., 2011 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
| Ibuprofen | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | 12 (15) | 6 - 25 | - | - | - | Biel-Maeso et al., 2017 |
|  | 31 | 31 | 1 | - | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | n.d. | n.d. | - | - | - | Čelić et al., 2019 |
|  | - | <0.1 - 2.6 | 89 | - | - | Huber et al., 2016 |
|  | 5.0 (8.4) | <LOQ - 21 | 68 | 55 | 12/22 | Da Silva et al., 2011 |
|  | 8 | - | - | 70 | - | Sun et al., 2021 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
|  | (6.7) | 4.4 - 36 | 50 | 50 | 6/12 | Vazquez-Roig et al., 2011 |
| Irbesartan | 6.3 (7.8) | 1.1 - 24 | 61 | 61 | 17/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | - | 3.5 | - | - | - | Čelić et al., 2019 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
| Ketoprofen | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | n.d. | n.d. | - | - | - | Čelić et al., 2019 |
|  | 2.7 (2.7) | <LOQ - 3.3 | 91 | 41 | 9/22 | Da Silva et al., 2011 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
| Metoprolol | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | 31 | - | 32 | - | - | Carmona et al., 2017 |
|  | 2.7 | 2.7 - <MDL | 25 | - | - | Castaño-Ortiz et al., 2024 |
|  | - | <0.1 - 63 | 80 | - | - | Huber et al., 2016 |
|  | 1.0 (1.4) | <LOQ - 4.1 | 73 | 36 | 8/22 | Da Silva et al., 2011 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
|  | (0.4) | 0.4 - 2.3 | 25 | 17 | 2/12 | Vazquez-Roig et al., 2011 |
| Miconazole | 7.4 (10) | 1.5 - 38 | 57 | 57 | 16/28 | This study |

Table S17. (continued).

| Compound | Median (Average) (ng/g) | Min - Max (ng/g) | Df (%) | Qf (%) | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Naproxen | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | - | <0.1 - 0.8 | 65 | - | - | Huber et al., 2016 |
|  | 1.9 (1.9) | <LOQ - 1.9 | 18 | 5 | 1/22 | Da Silva et al., 2011 |
|  | 4 | - | - | 90 | 0 | Sun et al., 2021 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
| o-Desmethylvenlafaxine | 47 (46) | 7.1 - 95 | 68 | 68 | 19/28 | This study |
|  | n.d. | n.d. | 0 | 0 | 0 | Castaño-Ortiz et al., 2024 |
| Sulfamethoxazole | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | n.d. | n.d. | 0 | 0 | 0 | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | n.d. | n.d. | 0 | 0 | - | Sun et al., 2021 |
|  | (0.3) | 0.3 - 2.7 | 17 | 17 | 2/12 | Vazquez-Roig et al., 2011 |
| Thiabendazole | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | 0 | <LOQ - 3.4 | - | - | - | Čelić et al., 2019 |
| Trimethoprim | 10 (7.5) | 3.1 - 10 | 11 | 11 | 3/28 | This study |
|  | 0.07 (0.11) | 0.02 - 0.2 | - | - | - | Biel-Maeso et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Carmona et al., 2017 |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | 0.8 (1.0) | <LOQ - 2.3 | 68 | 27 | 6/22 | Da Silva et al., 2011 |
|  | 10 | - | - | 30 | 0 | Sun et al., 2021 |
|  | - | 2 | 10 | 10 | - | Valdés et al., 2023 |
|  | (0.4) | 0.4 - 4.1 | 17 | 8 | 1/12 | Vazquez-Roig et al., 2011 |
| Valsartan | n.d. | n.d. | 0 | 0 | 0/28 | This study |
|  | n.d. | n.d. | 0 | 0 | - | Castaño-Ortiz et al., 2024 |
|  | n.d. | n.d. | - | - | - | Čelić et al., 2019 |
|  | n.d. | n.d. | 0 | 0 | - | Valdés et al., 2023 |
| Venlafaxine | 24 (23) | 1.2 - 70 | 75 | 75 | 21/28 | This study |
|  | 0.1 | 0.4 - <MQL | 100 | - | - | Castaño-Ortiz et al., 2024 |
|  | - | 0.2 - 74 | 86 | - | - | Huber et al., 2016 |
|  | (3.1) | 0.9 - 5.4 | 40 | 40 | - | Valdés et al., 2023 |

n.d.: not detected
<LOQ: below limit of quantification
<MDL: below method detection limit
<MQL: below method quantitation limit

Table S18. Calculated sediment-water partition coefficients (KD) for PhACs quantified in sediment samples. NA: not applicable (not quantified in surface water samples).

| PhAC | Min - Max (L/Kg) | Median (L/Kg) |
| --- | --- | --- |
| Acetaminophen | 6601 | - |
| Azithromycin | 121 - 1834 | 517 |
| Clarithromycin | 111 - 2586 | 724 |
| Clotrimazole | NA | 3050a |
| Erythromycin A | 612 - 3300 | 2025 |
| Anhydroerythromycin A | 2 - 73 | 29 |
| Fluconazole | 1.3 | - |
| Irbesartan | 2.1 - 66 | 11 |
| Miconazole | NA | 3400a |
| o-Desmethylvenlafaxine | 20 - 253 | 46 |
| Trimethoprim | 13 - 79 | 50 |
| Venlafaxine | 20 - 883 | 92 |

a: Value estimated according to ECHA, 2016a (equation R.16-6 )

Table S20. PhACs data previously reported for fish in the literature.

| Compound | Tissue | Median (Average) (ng/g d.w.) | Min - Max (ng/g d.w.) | Df | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Acetaminophen | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Muscle | 2.88 | - | - | 1/4 | Baduel et al., 2015 |
|  | - | n.d. | n.d. | 0% | 0% | Carmona et al., 2017 |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |
|  | Brain | - | 58 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | - | n.d. | n.d. | 0% | 0% | Sun et al., 2021 |
| Atenolol | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Liver | 0.4 | < MDL - 0.4 | 6% (n=18) | - | Castaño-Ortiz et al., 2024 |
| Atorvastatin | Whole fish | n.d. | n.d. | 0% | 0% | This study |
| Azithromycin | Whole fish | 160 | 160 | 4% | 4% | This study |
|  | Whole fish | 12 | - | 2% | - | Carmona et al., 2017 |
|  | Liver | 2.3 | <MDL - 23 | 28% (n= 18) | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | 0.8 | <MDL - 0.9 (ng/mL) | 22% (n= 18) | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | <LOQ | <5 - 19 (ng/mL) | 10% (n=10) | - | Cerveny et al., 2021 |
| Carbamazepine | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Whole fish | 5 | - | 1% | - | Carmona et al., 2017 |
|  | Liver | <MQL | <MDL - <MQL | 6% (n= 18) | - | Castaño-Ortiz et al., 2024 |
|  | Muscle | <MQL | <MDL - <MQL | 36% (n= 46) | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | <LOQ | <1 - 4.4 | 23% (n=30) | - | Cerveny et al., 2021 |
|  | Brain | 1.4 | - | 2% (n=50) | - | Duarte et al., 2023 |
|  | Liver | (18) | - | - | - | Huerta et al,, 2013 |
| Clarithromycin | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Whole fish | 7 | - | 2% | - | Carmona et al., 2017 |
|  | Muscle | <MQL | <MDL - <MQL | 4% (n= 46) | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | <LOQ | <1 - 11 (ng/mL) | 40% (n=10) | - | Cerveny et al., 2021 |
|  | Kidney | - | 1.4 - 3.9 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Liver | - | 6.8 (w.w.) | - | - | Manjarrés-López et al., 2023 |

Table S20. (continued).

| Compound | Tissue | Median (Average) (ng/g d.w.) | Min - Max (ng/g d.w.) | Df | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Clotrimazole | Whole fish | 7.8 (7.7) | 5.8 - 9.5 | 17% | 17% | This study |
|  | Plasma | <LOQ | <1 - 2.8 | 10% (n=10) | - | Cerveny et al., 2021 |
|  | Plasma | <LOQ | <1 - 3.4 | 7% (n=30) | - | Cerveny et al., 2021 |
| Erythromycin A | - | n.d. | n.d. | 0% | 0% | This study |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |
|  | - | n.d. | n.d. | 0% | 0% | Sun et al., 2021 |
| Anhydroerythromycin A | Whole fish | n.d. | n.d. | 0% | 0% | This study |
| Fluconazole | Whole fish | n.d. | n.d. | 0% | 0% | This study |
| Gemfibrozil | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Whole fish | 19 | - | 1% | - | Carmona et al., 2017 |
|  | Liver | 9.1 | <MDL - 9.1 | 6% (n= 18) | - | Castaño-Ortiz et al., 2024 |
|  | Muscle | 0.1 | <MDL - 1.6 | 14% (n= 46) | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | 2.8 | <MDL - 18 (ng/mL) | 28% (n= 18) | - | Castaño-Ortiz et al., 2024 |
| Ibuprofen | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Whole fish | 22 | - | 2% | - | Carmona et al., 2017 |
|  | Plasma | 14 | <MDL - 14 (ng/mL) | 6% (n= 18) | - | Castaño-Ortiz et al., 2024 |
|  | - | n.d. | n.d. | 0% | 0% | Sun et al., 2021 |
| Irbesartan | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |
| Ketoprofen | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Liver | <MQL | <MDL - <MQL | 6% (n= 18) | - | Castaño-Ortiz et al., 2024 |
|  | Heart | - | 1.1 (w.w.) | - | - | Manjarrés-López et al., 2023 |

Table S20. (continued).

| Compound | Tissue | Median (Average) (ng/g d.w.) | Min - Max (ng/g d.w.) | Df | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Metoprolol | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Whole fish | 32 | - | 2% | - | Carmona et al., 2017 |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |
|  | Heart | - | 1.3 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Kidney | - | 105 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Skin | - | 14 (w.w.) | - | - | Manjarrés-López et al., 2023 |
| Miconazole | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Plasma | <LOQ | <1 - 12 | 7% (n=30) | - | Cerveny et al., 2021 |
| Naproxen | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | - | n.d. | n.d. | 0% | 0% | Carmona et al., 2017 |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |
|  | - | n.d. | n.d. | 0% | 0% | Sun et al., 2021 |
| o-Desmethylvenlafaxine | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Muscle | <MQL | <MDL - <MQL | 11% (n= 46) | - | Castaño-Ortiz et al., 2024 |
| Sulfamethoxazole | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Whole fish | 13 | - | 3% | - | Carmona et al., 2017 |
|  | Plasma | 1.3 | <MDL - 1.3 (ng/mL) | 6% | - | Castaño-Ortiz et al., 2024 |
|  | Liver | - | 0.62 | 4% | - | Sun et al., 2021 |
| Thiabendazole | Whole fish | n.d. | n.d. | 0% | 0% | This study |
| Trimethoprim | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | - | n.d. | n.d. | 0% | 0% | Carmona et al., 2017 |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |
|  | Whole fish | 26 | - | 8.3% | 8.3% | Kalogeropoulou et al., 2021 |
|  | Heart | - | <LOQ | - | - | Manjarrés-López et al., 2023 |
|  | - | n.d. | n.d. | 0% | 0% | Rezk et al., 2015 |
|  | Kidney | (11) | 8.0 - 13 | 6% | - | Sun et al., 2021 |
| Valsartan | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | - | n.d. | n.d. | 0% | 0% | Castaño-Ortiz et al., 2024 |

Table S20. (continued).

| Compound | Tissue | Median (Average) (ng/g d.w.) | Min - Max (ng/g d.w.) | Df | Qf | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Venlafaxine | Whole fish | n.d. | n.d. | 0% | 0% | This study |
|  | Liver | 2.5 | <MDL - 28 | 56% | - | Castaño-Ortiz et al., 2024 |
|  | Muscle | 3.1 | <MDL - 8.6 | 17% | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | 0.2 | <MDL - 89 (ng/mL) | 17% | - | Castaño-Ortiz et al., 2024 |
|  | Plasma | <LOQ | <0.5 - 11 | 30% (n=10) | - | Cerveny et al., 2021 |
|  | Brain | 1.1 | 0.5 - 13 | 30% (n=50) | - | Duarte et al., 2023 |
|  | Liver | 1.8 | 0.6 - 4.3 | 19% (n=55) | - | Duarte et al., 2023 |
|  | Muscle | 0.9 | 0.5 - 2.5 | 22% (n=55) | - | Duarte et al., 2023 |
|  | Whole fish | (0.6) | - | 2% | - | Huerta et al., 2013 |
|  | Brain | - | 23 - 153 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Heart | - | 15 - 49 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Kidney | - | 33 - 54 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Liver | - | 33 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Muscle | - | 5.9 (w.w.) | - | - | Manjarrés-López et al., 2023 |
|  | Plasma | - | 51 - 87 (ng/mL) | - | - | Manjarrés-López et al., 2023 |
|  | Skin | - | 13 - 27 (w.w.) | - | - | Manjarrés-López et al., 2023 |

d.w.: dry weight
w.w. wet weight
n.d.: not detected
-: not available
<MDL: below method detection limit.
<MQL: below method quantitation limit

Table S21. Predicted Environmental Concentration values for soil for the first 25 years after annual application.

|  |  | PECsoil (mg/Kg) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Year | Azithromycin | Clotrimazole | Gemfibrozil | Ibuprofen | Irbesartan | Miconazole | Naproxen | o-Desmethylvenlafaxine | Thiabendazole | Valsartan | Venlafaxine |
| WWTP 1-Sludge 1 | 1 | - | 1,18E-03 | 3,81E-04 | - | 1,16E-03 | 6,12E-04 | - | 4,10E-04 | - | 2,65E-04 | - |
|  | 10 | - | 8,34E-03 | 6,34E-04 | - | 8,20E-03 | 4,31E-03 | - | 7,10E-04 | - | 1,86E-03 | - |
|  | 25 | - | 0,01 | 6,34E-04 | - | 0,01 | 6,65E-03 | - | 7,10E-04 | - | 2,85E-03 | - |
| WWTP 1-Sludge 2 | 1 | - | 1,25E-03 | 4,38E-04 | - | 1,04E-03 | 7,20E-04 | - | 6,25E-04 | - | 4,16E-04 | 1,21E-04 |
|  | 10 | - | 8,83E-03 | 7,28E-04 | - | 7,31E-03 | 5,07E-03 | - | 1,08E-03 | - | 2,92E-03 | 1,92E-04 |
|  | 25 | - | 0,01 | 7,28E-04 | - | 0,01 | 7,81E-03 | - | 1,08E-03 | - | 4,48E-03 | 1,92E-04 |
| WWTP 1-Sludge 3 | 1 | - | 1,40E-03 | 2,69E-04 | - | 4,53E-04 | 6,69E-04 | - | 6,78E-04 | 1,02E-04 | 2,87E-04 | 1,00E-04 |
|  | 10 | - | 9,86E-03 | 4,47E-04 | - | 3,19E-03 | 4,71E-03 | - | 1,17E-03 | 1,78E-04 | 2,01E-03 | 1,59E-04 |
|  | 25 | - | 0,02 | 4,47E-04 | - | 4,92E-03 | 7,27E-03 | - | 1,17E-03 | 1,78E-04 | 3,09E-03 | 1,59E-04 |
| WWTP 1-Sludge 4 | 1 | - | 1,27E-03 | 2,90E-04 | 8,02E-04 | 9,34E-04 | 5,91E-04 | - | 4,87E-04 | 1,08E-04 | 3,42E-04 | - |
|  | 10 | - | 8,93E-03 | 4,82E-04 | 8,02E-04 | 6,58E-03 | 4,16E-03 | - | 8,44E-04 | 1,88E-04 | 2,39E-03 | - |
|  | 25 | - | 0,01 | 4,82E-04 | 8,02E-04 | 0,01 | 6,42E-03 | - | 8,44E-04 | 1,88E-04 | 3,67E-03 | - |
| WWTP 2-Sludge 1 | 1 | 1,26E-03 | 2,52E-03 | 1,93E-04 | - | 1,57E-03 | 1,65E-03 | - | 2,45E-04 | - | 6,96E-04 | 7,26E-04 |
|  | 10 | 2,19E-03 | 0,02 | 3,20E-04 | - | 0,01 | 0,01 | - | 4,25E-04 | - | 4,88E-03 | 1,15E-03 |
|  | 25 | 2,19E-03 | 0,03 | 3,21E-04 | - | 0,02 | 0,02 | - | 4,25E-04 | - | 7,48E-03 | 1,15E-03 |
| WWTP 2-Sludge 2 | 1 | 2,17E-03 | 2,13E-03 | - | 1,37E-03 | 1,46E-03 | 1,22E-03 | - | 3,79E-04 | - | 6,97E-04 | 6,96E-04 |
|  | 10 | 3,78E-03 | 0,01 | - | 1,38E-03 | 0,01 | 8,56E-03 | - | 6,57E-04 | - | 4,89E-03 | 1,11E-03 |
|  | 25 | 3,78E-03 | 0,02 | - | 1,38E-03 | 0,02 | 0,01 | - | 6,57E-04 | - | 7,50E-03 | 1,11E-03 |
| WWTP 2-Sludge 3 | 1 | 1,39E-03 | 1,21E-03 | - | - | 3,90E-04 | 1,85E-04 | 1,28E-04 | 4,14E-04 | - | 3,72E-04 | 1,64E-03 |
|  | 10 | 2,41E-03 | 8,51E-03 | - | - | 2,75E-03 | 1,31E-03 | 2,12E-04 | 7,17E-04 | - | 2,61E-03 | 2,61E-03 |
|  | 25 | 2,42E-03 | 0,01 | - | - | 4,24E-03 | 2,01E-03 | 2,12E-04 | 7,17E-04 | - | 4,00E-03 | 2,61E-03 |
| WWTP 2-Sludge 4 | 1 | 9,70E-04 | 1,37E-03 | 1,04E-04 | 3,48E-04 | 6,16E-04 | 1,01E-03 | - | 9,16E-04 | 6,97E-05 | 4,06E-04 | 7,60E-04 |
|  | 10 | 1,69E-03 | 9,64E-03 | 1,72E-04 | 3,48E-04 | 4,34E-03 | 7,10E-03 | - | 1,59E-03 | 1,21E-04 | 2,85E-03 | 1,21E-03 |
|  | 25 | 1,69E-03 | 0,01 | 1,72E-04 | 3,48E-04 | 6,69E-03 | 0,01 | - | 1,59E-03 | 1,21E-04 | 4,37E-03 | 1,21E-03 |

Table S22. Predicted Environmental Concentration values for earthworms for the first 25 years after annual application.

|  |  | PECearthworm (mg/Kg) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Year | Azithromycin | Clotrimazole | Gemfibrozil | Ibuprofen | Irbesartan | Miconazole | Naproxen | o-Desmethylvenlafaxine | Thiabendazole | Valsartan | Venlafaxine |
| WWTP 1-Sludge 1 | 1 | - | 7,56E-04 | 0,04 | - | 1,91E-04 | 1,58E-03 | - | 1,52E-04 | - | 7,31E-05 | - |
|  | 10 | - | 5,32E-03 | 0,07 | - | 1,35E-03 | 0,01 | - | 2,63E-04 | - | 5,12E-04 | - |
|  | 25 | - | 8,21E-03 | 0,07 | - | 2,08E-03 | 0,02 | - | 2,63E-04 | - | 7,86E-04 | - |
| WWTP 1-Sludge 2 | 1 | - | 8,00E-04 | 0,05 | - | 1,70E-04 | 1,85E-03 | - | 2,31E-04 | - | 1,15E-04 | 9,33E-04 |
|  | 10 | - | 5,63E-03 | 0,08 | - | 1,20E-03 | 0,01 | - | 4,01E-04 | - | 8,06E-04 | 1,48E-03 |
|  | 25 | - | 8,69E-03 | 0,08 | - | 1,85E-03 | 0,02 | - | 4,01E-04 | - | 1,24E-03 | 1,48E-03 |
| WWTP 1-Sludge 3 | 1 | - | 8,93E-04 | 0,03 | - | 7,44E-05 | 1,72E-03 | - | 2,51E-04 | 2,41E-05 | 7,93E-05 | 7,72E-04 |
|  | 10 | - | 6,29E-03 | 0,05 | - | 5,24E-04 | 0,01 | - | 4,34E-04 | 4,20E-05 | 5,56E-04 | 1,23E-03 |
|  | 25 | - | 9,70E-03 | 0,05 | - | 8,08E-04 | 0,02 | - | 4,34E-04 | 4,20E-05 | 8,52E-04 | 1,23E-03 |
| WWTP 1-Sludge 4 | 1 | - | 8,09E-04 | 0,03 | 1,78E-03 | 1,53E-04 | 1,52E-03 | - | 1,80E-04 | 2,55E-05 | 9,43E-05 | - |
|  | 10 | - | 5,70E-03 | 0,05 | 1,78E-03 | 1,08E-03 | 0,01 | - | 3,12E-04 | 4,43E-05 | 6,61E-04 | - |
|  | 25 | - | 8,79E-03 | 0,05 | 1,78E-03 | 1,67E-03 | 0,02 | - | 3,12E-04 | 4,44E-05 | 1,01E-03 | - |
| WWTP 2-Sludge 1 | 1 | 3,40E-03 | 1,61E-03 | 0,02 | - | 2,58E-04 | 4,25E-03 | - | 9,08E-05 | - | 1,92E-04 | 5,60E-03 |
|  | 10 | 5,92E-03 | 0,01 | 0,03 | - | 1,82E-03 | 0,03 | - | 1,57E-04 | - | 1,35E-03 | 8,90E-03 |
|  | 25 | 5,92E-03 | 0,02 | 0,03 | - | 2,80E-03 | 0,05 | - | 1,57E-04 | - | 2,07E-03 | 8,90E-03 |
| WWTP 2-Sludge 2 | 1 | 5,87E-03 | 1,36E-03 | - | 3,06E-03 | 2,39E-04 | 3,13E-03 | - | 1,40E-04 | - | 1,92E-04 | 5,36E-03 |
|  | 10 | 0,01 | 9,56E-03 | - | 3,06E-03 | 1,69E-03 | 0,02 | - | 2,43E-04 | - | 1,35E-03 | 8,53E-03 |
|  | 25 | 0,01 | 0,01 | - | 3,06E-03 | 2,60E-03 | 0,03 | - | 2,43E-04 | - | 2,07E-03 | 8,53E-03 |
| WWTP 2-Sludge 3 | 1 | 3,75E-03 | 7,71E-04 | - | - | 6,41E-05 | 4,78E-04 | 4,72E-04 | 1,53E-04 | - | 1,03E-04 | 0,01 |
|  | 10 | 6,53E-03 | 5,43E-03 | - | - | 4,51E-04 | 3,37E-03 | 7,80E-04 | 2,65E-04 | - | 7,19E-04 | 0,02 |
|  | 25 | 6,53E-03 | 8,37E-03 | - | - | 6,96E-04 | 5,19E-03 | 7,80E-04 | 2,65E-04 | - | 1,10E-03 | 0,02 |
| WWTP 2-Sludge 4 | 1 | 2,62E-03 | 8,73E-04 | 0,01 | 7,74E-04 | 1,01E-04 | 2,60E-03 | - | 3,39E-04 | 1,64E-05 | 1,12E-04 | 5,86E-03 |
|  | 10 | 4,57E-03 | 6,15E-03 | 0,02 | 7,75E-04 | 7,12E-04 | 0,02 | - | 5,87E-04 | 2,86E-05 | 7,86E-04 | 9,31E-03 |
|  | 25 | 4,57E-03 | 9,48E-03 | 0,02 | 7,75E-04 | 1,10E-03 | 0,03 | - | 5,87E-04 | 2,86E-05 | 1,21E-03 | 9,31E-03 |

Table S23. Risk Characterization Ratios estimated for the soil compartment.

|  |  | RCRsoil |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Azithromycin | Clotrimazole | Gemfibrozil | Ibuprofen | Irbesartan | Miconazole | Naproxen | o-Desmethylvenlafaxine | Thiabendazole | Valsartan | Venlafaxine |
| PNECsoil |  | 5,46E-02 | 1,90E+00 | 7,64E-05 | 5,99E-05 | 2,27E+00 | 3,88E-01 | 1,79E-04 | 9,02E-01 | 4,44E-02 | 4,04E+00 | 3,48E-05 |
|  | Year |  |  |  |  |  |  |  |  |  |  |  |
| WWTP 1-Sludge 1 | 1 | - | 6,23E-04 | 4,99 | - | 5,12E-04 | 1,58E-03 | - | 4,54E-04 | - | 6,55E-05 | - |
|  | 10 | - | 4,39E-03 | 8,29 | - | 3,61E-03 | 0,01 | - | 7,87E-04 | - | 4,59E-04 | - |
|  | 25 | - | 6,77E-03 | 8,29 | - | 5,56E-03 | 0,02 | - | 7,87E-04 | - | 7,04E-04 | - |
| WWTP 1-Sludge 2 | 1 | - | 6,60E-04 | 5,73 | - | 4,57E-04 | 1,86E-03 | - | 6,93E-04 | - | 1,03E-04 | 3,48 |
|  | 10 | - | 4,65E-03 | 9,52 | - | 3,22E-03 | 0,01 | - | 1,20E-03 | - | 7,22E-04 | 5,53 |
|  | 25 | - | 7,17E-03 | 9,52 | - | 4,96E-03 | 0,02 | - | 1,20E-03 | - | 1,11E-03 | 5,53 |
| WWTP 1-Sludge 3 | 1 | - | 7,37E-04 | 3,52 | - | 1,99E-04 | 1,73E-03 | - | 7,51E-04 | 2,30E-03 | 7,10E-05 | 2,88 |
|  | 10 | - | 5,19E-03 | 5,85 | - | 1,40E-03 | 0,01 | - | 1,30E-03 | 4,01E-03 | 4,98E-04 | 4,57 |
|  | 25 | - | 8,01E-03 | 5,85 | - | 2,17E-03 | 0,02 | - | 1,30E-03 | 4,01E-03 | 7,64E-04 | 4,57 |
| WWTP 1-Sludge 4 | 1 | - | 6,68E-04 | 3,79 | 13,38 | 4,11E-04 | 1,52E-03 | - | 5,40E-04 | 2,43E-03 | 8,45E-05 | - |
|  | 10 | - | 4,70E-03 | 6,30 | 13,39 | 2,90E-03 | 0,01 | - | 9,36E-04 | 4,23E-03 | 5,92E-04 | - |
|  | 25 | - | 7,25E-03 | 6,30 | 13,39 | 4,46E-03 | 0,02 | - | 9,36E-04 | 4,23E-03 | 9,08E-04 | - |
| WWTP 2-Sludge 1 | 1 | 0,02 | 1,33E-03 | 2,52 | - | 6,91E-04 | 4,25E-03 | - | 2,72E-04 | - | 1,72E-04 | 21 |
|  | 10 | 0,04 | 9,35E-03 | 4,19 | - | 4,87E-03 | 0,03 | - | 4,71E-04 | - | 1,21E-03 | 33 |
|  | 25 | 0,04 | 0,01 | 4,19 | - | 7,51E-03 | 0,05 | - | 4,71E-04 | - | 1,85E-03 | 33 |
| WWTP 2-Sludge 2 | 1 | 0,04 | 1,12E-03 | - | 22,95 | 6,41E-04 | 3,13E-03 | - | 4,20E-04 | - | 1,72E-04 | 20 |
|  | 10 | 0,07 | 7,88E-03 | - | 22,96 | 4,52E-03 | 0,02 | - | 7,28E-04 | - | 1,21E-03 | 32 |
|  | 25 | 0,07 | 0,01 | - | 22,96 | 6,97E-03 | 0,03 | - | 7,28E-04 | - | 1,85E-03 | 32 |
| WWTP 2-Sludge 3 | 1 | 0,03 | 6,36E-04 | - | - | 1,72E-04 | 4,78E-04 | 0,72 | 4,59E-04 | - | 9,19E-05 | 47 |
|  | 10 | 0,04 | 4,48E-03 | - | - | 1,21E-03 | 3,37E-03 | 1,19 | 7,94E-04 | - | 6,44E-04 | 75 |
|  | 25 | 0,04 | 6,91E-03 | - | - | 1,86E-03 | 5,19E-03 | 1,19 | 7,95E-04 | - | 9,88E-04 | 75 |
| WWTP 2-Sludge 4 | 1 | 0,02 | 7,20E-04 | 1,35 | 5,81 | 2,71E-04 | 2,60E-03 | - | 1,01E-03 | 1,57E-03 | 1,00E-04 | 22 |
|  | 10 | 0,03 | 5,07E-03 | 2,25 | 5,82 | 1,91E-03 | 0,02 | - | 1,76E-03 | 2,73E-03 | 7,04E-04 | 35 |
|  | 25 | 0,03 | 7,82E-03 | 2,25 | 5,82 | 2,94E-03 | 0,03 | - | 1,76E-03 | 2,73E-03 | 1,08E-03 | 35 |

Table S24. Calculated PNEC values for sediment compartment for each trophic level.

|  | PNECsediment (mg/Kg) |  |  |
| --- | --- | --- | --- |
|  | Algae | Crustacean | Fish |
| Acetaminophen | 1.24E-03 | 7.42E-01 | 1.24E-04 |
| Atenolol | 1.74E-02 | 2.61E-01 | 8.71E-02 |
| Atorvastatin | 1.89E-04 | 4.72E-05 | 9.44E-05 |
| Azithromycin | 6.80E-02 | 6.80E-02 | 1.50E+03 |
| Carbamazepine | 2.39E-03 | 1.19E-03 | 1.19E-05 |
| Clarithromycin | 4.00E-03 | 1.20E-01 | 8.00E+01 |
| Clotrimazole | 5.85E-01 | 2.34E-01 | 5.85E+00 |
| Erythromycin A | 2.66E-03 | 1.33E+01 | 1.33E+02 |
| Anhydroerythromycin A | 3.01E-02 | 9.02E-03 | 1.50E-02 |
| Fluconazole | 6.85E+01 | 1.14E+02 | 4.57E+00 |
| Gemfibrozil | 3.02E+00 | 1.01E-04 | 4.02E-04 |
| Ibuprofen | 7.44E-02 | 7.44E+00 | 7.44E-05 |
| Irbesartan | 2.80E+00 | 5.60E+00 | 8.40E+00 |
| Ketoprofen | 1.85E+00 | 4.62E-03 | 9.24E-05 |
| Metoprolol | 1.70E+00 | 2.12E-04 | 2.12E+00 |
| Miconazole | 2.39E-01 | 4.78E-02 | 1.19E-01 |
| Naproxen | 3.19E-01 | 2.39E-04 | 7.98E-03 |
| o-Desmethylvenlafaxine | 1.13E+00 | 1.13E+00 | 1.89E+00 |
| Sulfamethoxazole | 1.18E-01 | 2.36E-02 | 2.36E-02 |
| Thiabendazole | 3.88E+00 | 5.54E-02 | 5.54E-01 |
| Trimethoprim | 7.30E-01 | 7.30E-01 | 4.86E-02 |
| Valsartan | 4.99E+00 | 2.49E+01 | 2.99E+01 |
| Venlafaxine | 4.92E-03 | 4.92E-01 | 4.92E-05 |

Table S25. RCRs for sediment samples at the median and worst scenarios.

|  |  | Median scenario |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | SP | Acetaminophen | Azithromycin | Clarithromycin | Clotrimazole | Erythromycin A | Anhydroerythromycin A | Fluconazole | Irbesartan | Miconazole | o-Desmethylvenlafaxine | Trimethoprim | Venlafaxine |  |
| Algae | S1 | 0.000 | 0.14 | 3.3 | 0.05 | 0.000 | 0.08 | 0.000 | 0.003 | 0.07 | 0.05 | 0.000 | 5.3 |  |
|  | S2 | 0.000 | 0.21 | 4.5 | 0.04 | 0.000 | 0.10 | 0.000 | 0.001 | 0.03 | 0.08 | 0.009 | 8.3 |  |
|  | S3 | 0.000 | 0.27 | 7.8 | 0.03 | 4.2 | 0.18 | 0.000 | 0.004 | 0.02 | 0.04 | 0.013 | 4.9 |  |
|  | S4 | 0.000 | 0.13 | 3.0 | 0.02 | 0.000 | 0.06 | 0.000 | 0.001 | 0.014 | 0.04 | 0.000 | 5.4 |  |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |
|  | S6 | 0.000 | 0.22 | 3.7 | 0.03 | 17 | 0.07 | 0.000 | 0.002 | 0.05 | 0.05 | 0.000 | 1.3 |  |
|  | S7 | 0.000 | 0.23 | 4.2 | 0.04 | 0.000 | 0.08 | 0.000 | 0.009 | 0.000 | 0.03 | 0.000 | 6.5 |  |
|  | S8 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.31 |  |
|  | S9 | 0.000 | 0.04 | 1.02 | 0.012 | 0.000 | 0.000 | 0.000 | 0.001 | 0.014 | 0.012 | 0.000 | 1.5 |  |
|  | S10 | 0.000 | 0.08 | 1.4 | 0.05 | 0.000 | 0.10 | 0.000 | 0.002 | 0.02 | 0.02 | 0.000 | 0.55 |  |
| Crustacean | S1 | 0.000 | 0.14 | 0.11 | 0.14 | 0.000 | 0.25 | 0.000 | 0.001 | 0.37 | 0.05 | 0.000 | 0.05 |  |
|  | S2 | 0.000 | 0.21 | 0.15 | 0.11 | 0.000 | 0.34 | 0.000 | 0.001 | 0.17 | 0.08 | 0.009 | 0.08 |  |
|  | S3 | 0.000 | 0.27 | 0.26 | 0.08 | 0.001 | 0.62 | 0.000 | 0.002 | 0.10 | 0.04 | 0.013 | 0.05 |  |
|  | S4 | 0.000 | 0.13 | 0.10 | 0.06 | 0.000 | 0.20 | 0.000 | 0.000 | 0.07 | 0.04 | 0.000 | 0.05 |  |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |
|  | S6 | 0.000 | 0.22 | 0.12 | 0.09 | 0.003 | 0.22 | 0.000 | 0.001 | 0.26 | 0.05 | 0.000 | 0.013 |  |
|  | S7 | 0.000 | 0.23 | 0.14 | 0.10 | 0.000 | 0.28 | 0.000 | 0.004 | 0.000 | 0.03 | 0.000 | 0.06 |  |
|  | S8 | 0.09 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.003 |  |
|  | S9 | 0.000 | 0.04 | 0.03 | 0.03 | 0.000 | 0.000 | 0.000 | 0.000 | 0.07 | 0.012 | 0.000 | 0.015 |  |
|  | S10 | 0.000 | 0.08 | 0.05 | 0.12 | 0.000 | 0.34 | 0.000 | 0.001 | 0.11 | 0.02 | 0.000 | 0.005 |  |
| Fish | S1 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.15 | 0.001 | 0.001 | 0.15 | 0.03 | 0.000 | 534 |  |
|  | S2 | 0.000 | 0.000 | 0.000 | 0.004 | 0.000 | 0.20 | 0.000 | 0.000 | 0.07 | 0.05 | 0.13 | 826 |  |
|  | S3 | 0.000 | 0.000 | 0.000 | 0.003 | 0.000 | 0.37 | 0.000 | 0.001 | 0.04 | 0.03 | 0.20 | 487 |  |
|  | S4 | 0.000 | 0.000 | 0.000 | 0.002 | 0.000 | 0.12 | 0.000 | 0.000 | 0.03 | 0.02 | 0.000 | 540 |  |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |
|  | S6 | 0.000 | 0.000 | 0.000 | 0.004 | 0.000 | 0.13 | 0.000 | 0.001 | 0.11 | 0.03 | 0.000 | 131 |  |
|  | S7 | 0.000 | 0.000 | 0.000 | 0.004 | 0.000 | 0.17 | 0.000 | 0.003 | 0.000 | 0.02 | 0.000 | 650 |  |
|  | S8 | 512 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 | 0.000 | 31 |  |
|  | S9 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.03 | 0.007 | 0.000 | 147 |  |
|  | S10 | 0.000 | 0.000 | 0.000 | 0.005 | 0.000 | 0.20 | 0.000 | 0.001 | 0.04 | 0.014 | 0.000 | 55 |  |

Table S25. (continued).

|  |  | Worst scenario |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | SP | Acetaminophen | Azithromycin | Clarithromycin | Clotrimazole | Erythromycin A | Anhydroerythromycin A | Fluconazole | Irbesartan | Miconazole | o-Desmethylvenlafaxine | Trimethoprim | Venlafaxine |
| Algae | S1 | 0.000 | 0.26 | 5.7 | 0.006 | 0.000 | 0.08 | 0.000 | 0.003 | 0.015 | 0.06 | 0.000 | 7.1 |
|  | S2 | 0.000 | 0.25 | 7.5 | 0.006 | 0.000 | 0.14 | 0.000 | 0.006 | 0.0099 | 0.08 | 0.013 | 12 |
|  | S3 | 0.000 | 0.73 | 15 | 0.004 | 5.2 | 0.27 | 0.000 | 0.006 | 0.003 | 0.08 | 0.013 | 13 |
|  | S4 | 0.000 | 0.14 | 3.2 | 0.003 | 0.000 | 0.06 | 0.000 | 0.001 | 0.002 | 0.05 | 0.000 | 5.6 |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | S6 | 0.000 | 0.22 | 4.2 | 0.005 | 17 | 0.48 | 0.000 | 0.003 | 0.006 | 0.06 | 0.000 | 1.4 |
|  | S7 | 0.000 | 0.23 | 4.2 | 0.004 | 0.000 | 0.08 | 0.000 | 0.009 | 0.000 | 0.03 | 0.000 | 6.5 |
|  | S8 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.37 |
|  | S9 | 0.000 | 0.04 | 1.02 | 0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 0.001 | 0.012 | 0.000 | 1.5 |
|  | S10 | 0.000 | 0.12 | 2.4 | 0.005 | 0.000 | 0.10 | 0.000 | 0.002 | 0.003 | 0.04 | 0.000 | 7.4 |
| Crustacean | S1 | 0.000 | 0.26 | 0.19 | 0.02 | 0.000 | 0.27 | 0.000 | 0.002 | 0.07 | 0.06 | 0.000 | 0.07 |
|  | S2 | 0.000 | 0.25 | 0.25 | 0.015 | 0.000 | 0.47 | 0.000 | 0.003 | 0.05 | 0.08 | 0.013 | 0.12 |
|  | S3 | 0.000 | 0.73 | 0.49 | 0.009 | 0.001 | 0.91 | 0.000 | 0.003 | 0.017 | 0.08 | 0.013 | 0.13 |
|  | S4 | 0.000 | 0.14 | 0.11 | 0.007 | 0.000 | 0.21 | 0.000 | 0.000 | 0.009 | 0.05 | 0.000 | 0.06 |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | S6 | 0.000 | 0.22 | 0.14 | 0.012 | 0.003 | 1.6 | 0.000 | 0.002 | 0.03 | 0.06 | 0.000 | 0.014 |
|  | S7 | 0.000 | 0.23 | 0.14 | 0.010 | 0.000 | 0.28 | 0.000 | 0.004 | 0.000 | 0.03 | 0.000 | 0.06 |
|  | S8 | 0.09 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.004 |
|  | S9 | 0.000 | 0.04 | 0.03 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.007 | 0.012 | 0.000 | 0.015 |
|  | S10 | 0.000 | 0.12 | 0.08 | 0.012 | 0.000 | 0.34 | 0.000 | 0.001 | 0.017 | 0.04 | 0.000 | 0.07 |
| Fish | S1 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 | 0.16 | 0.001 | 0.001 | 0.030 | 0.03 | 0.000 | 708 |
|  | S2 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 | 0.28 | 0.000 | 0.002 | 0.020 | 0.05 | 0.19 | 1156 |
|  | S3 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.55 | 0.000 | 0.002 | 0.007 | 0.05 | 0.20 | 1326 |
|  | S4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.12 | 0.000 | 0.000 | 0.004 | 0.03 | 0.000 | 560 |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | S6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.96 | 0.000 | 0.001 | 0.011 | 0.03 | 0.000 | 140 |
|  | S7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.17 | 0.000 | 0.003 | 0.000 | 0.02 | 0.000 | 650 |
|  | S8 | 512 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 | 0.000 | 37 |
|  | S9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.003 | 0.007 | 0.000 | 147 |
|  | S10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.20 | 0.000 | 0.001 | 0.007 | 0.024 | 0.000 | 739 |

Table S26. Total RCR values as the sum of RQwater (Royano et al., 2023) and RCRsediment at each sampling point for the three trophic levels.

|  |  | Median scenario |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | SP | Acetaminophen | Atenolol | Atorvastatin | Azithromycin | Carbamazepine | Clarithromycin | Clotrimazole | Erythromycin A | Anhydroerythromycin A | Fluconazole | Gemfibrozil | Ibuprofen | Irbesartan | Ketoprofen | Metoprolol | Miconazole | Naproxen | o-Desmethylvenlafaxine | Sulfamethoxazole | Thiabendazole | Trimethoprim | Valsartan | Venlafaxine |
| Algae | S1 | 0.000 | 0.20 | 0.000 | 0.34 | 0.000 | 3.3 | 0.06 | 0.000 | 0.08 | 0.000 | 0.000 | 0.10 | 3.7 | 0.000 | 0.000 | 0.07 | 0.000 | 0.05 | 0.000 | 0.000 | 0.000 | 0.10 | 5.8 |
|  | S2 | 0.000 | 0.40 | 0.000 | 0.61 | 0.000 | 4.5 | 0.04 | 0.000 | 0.10 | 0.000 | 0.000 | 0.40 | 7.9 | 0.000 | 0.000 | 0.03 | 0.000 | 0.08 | 0.000 | 0.000 | 0.009 | 0.20 | 8.9 |
|  | S3 | 0.000 | 0.20 | 0.000 | 0.57 | 0.100 | 7.8 | 0.03 | 4.3 | 0.18 | 0.000 | 0.000 | 0.000 | 8.1 | 0.000 | 0.000 | 0.02 | 0.000 | 0.14 | 0.000 | 0.000 | 0.013 | 0.10 | 5.6 |
|  | S4 | 0.000 | 0.20 | 0.000 | 0.33 | 0.100 | 3.0 | 0.02 | 0.000 | 0.06 | 0.000 | 0.000 | 0.10 | 5.7 | 0.000 | 0.000 | 0.014 | 0.000 | 0.04 | 0.000 | 0.000 | 0.000 | 0.20 | 5.8 |
|  | S5 | 0.10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | S6 | 0.000 | 0.10 | 0.000 | 0.42 | 0.000 | 3.7 | 0.04 | 17 | 0.07 | 0.000 | 0.000 | 0.10 | 3.4 | 0.000 | 0.000 | 0.05 | 0.000 | 0.05 | 0.000 | 0.000 | 0.000 | 0.10 | 1.5 |
|  | S7 | 0.000 | 0.000 | 0.000 | 0.33 | 0.100 | 4.2 | 0.04 | 0.000 | 0.08 | 0.000 | 0.000 | 0.000 | 3.3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.03 | 0.000 | 0.000 | 0.000 | 0.10 | 6.8 |
|  | S8 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1.6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.41 |
|  | S9 | 0.000 | 0.000 | 0.000 | 0.04 | 0.000 | 1.02 | 0.012 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 | 0.000 | 0.014 | 0.000 | 0.012 | 0.000 | 0.000 | 0.000 | 0.000 | 1.5 |
|  | S10 | 0.000 | 0.000 | 0.000 | 0.18 | 0.000 | 1.4 | 0.05 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 0.80 | 0.000 | 0.000 | 0.02 | 0.000 | 0.02 | 0.000 | 0.000 | 0.000 | 0.000 | 0.65 |
| Crustacean | S1 | 0.000 | 0.000 | 0.000 | 0.14 | 1.4 | 0.11 | 0.24 | 0.000 | 0.25 | 0.000 | 64 | 0.000 | 2.5 | 0.20 | 0.20 | 0.37 | 2.8 | 0.05 | 0.000 | 0.000 | 0.000 | 0.000 | 0.05 |
|  | S2 | 0.000 | 0.000 | 0.000 | 0.21 | 1.8 | 0.15 | 0.21 | 0.000 | 0.34 | 0.000 | 147 | 0.000 | 5.5 | 0.50 | 0.50 | 0.17 | 7.2 | 0.08 | 0.000 | 0.000 | 0.009 | 0.10 | 0.08 |
|  | S3 | 0.000 | 0.000 | 0.000 | 0.27 | 3.6 | 0.26 | 0.08 | 0.001 | 0.62 | 0.000 | 103 | 0.000 | 5.6 | 0.60 | 0.80 | 0.099 | 3.8 | 0.14 | 0.000 | 0.10 | 0.013 | 0.000 | 0.05 |
|  | S4 | 0.000 | 0.000 | 0.000 | 0.13 | 2.3 | 0.10 | 0.06 | 0.000 | 0.20 | 0.000 | 100 | 0.000 | 4.0 | 0.000 | 0.40 | 0.07 | 3.9 | 0.04 | 0.000 | 0.000 | 0.000 | 0.10 | 0.05 |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 0.30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | S6 | 0.000 | 0.000 | 0.000 | 0.22 | 1.4 | 0.12 | 0.09 | 0.003 | 0.22 | 0.000 | 58 | 0.000 | 2.3 | 0.000 | 0.20 | 0.26 | 4.1 | 0.05 | 0.000 | 0.000 | 0.000 | 0.000 | 0.013 |
|  | S7 | 0.000 | 0.000 | 0.000 | 0.23 | 2.2 | 0.14 | 0.10 | 0.000 | 0.28 | 0.000 | 21 | 0.000 | 2.3 | 0.10 | 0.10 | 0.000 | 3.2 | 0.03 | 0.000 | 0.000 | 0.000 | 0.000 | 0.06 |
|  | S8 | 0.09 | 0.000 | 0.000 | 0.000 | 1.2 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 27 | 0.000 | 1.1 | 0.000 | 0.10 | 0.000 | 0.90 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.003 |
|  | S9 | 0.000 | 0.000 | 0.000 | 0.04 | 0.000 | 0.03 | 0.13 | 0.000 | 0.000 | 0.000 | 0.30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.07 | 0.10 | 0.012 | 0.000 | 0.000 | 0.000 | 0.000 | 0.015 |
|  | S10 | 0.000 | 0.000 | 0.000 | 0.08 | 0.40 | 0.05 | 0.22 | 0.000 | 0.34 | 0.000 | 4.1 | 0.000 | 0.60 | 0.000 | 0.000 | 0.11 | 0.50 | 0.02 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
| Fish | S1 | 0.10 | 0.000 | 0.000 | 0.000 | 68 | 0.000 | 0.006 | 0.000 | 0.15 | 0.60 | 8.5 | 118 | 1.5 | 9.4 | 0.000 | 0.15 | 0.10 | 0.03 | 0.000 | 0.000 | 0.000 | 0.000 | 561 |
|  | S2 | 0.10 | 0.000 | 0.000 | 0.000 | 89 | 0.000 | 0.004 | 0.000 | 0.20 | 0.20 | 19 | 426 | 3.2 | 24 | 0.000 | 0.07 | 0.20 | 0.05 | 0.000 | 0.000 | 0.13 | 0.000 | 862 |
|  | S3 | 0.000 | 0.000 | 0.000 | 0.000 | 181 | 0.000 | 0.003 | 0.000 | 0.37 | 0.10 | 14 | 18 | 3.3 | 29 | 0.000 | 0.04 | 0.10 | 0.03 | 0.000 | 0.000 | 0.20 | 0.000 | 525 |
|  | S4 | 0.10 | 0.000 | 0.000 | 0.000 | 113 | 0.000 | 0.002 | 0.000 | 0.12 | 0.10 | 13 | 105 | 2.3 | 1.8 | 0.000 | 0.03 | 0.10 | 0.02 | 0.000 | 0.000 | 0.000 | 0.000 | 563 |
|  | S5 | 0.30 | 0.000 | 0.000 | 0.000 | 1.5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 0.000 | 1.8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.30 |
|  | S6 | 0.10 | 0.000 | 0.000 | 0.000 | 72 | 0.000 | 0.004 | 0.000 | 0.13 | 0.10 | 7.7 | 148 | 1.4 | 1.8 | 0.000 | 0.11 | 0.10 | 0.03 | 0.000 | 0.000 | 0.000 | 0.000 | 144 |
|  | S7 | 0.000 | 0.000 | 0.000 | 0.000 | 108 | 0.000 | 0.004 | 0.000 | 0.17 | 0.000 | 2.7 | 30 | 1.3 | 2.9 | 0.000 | 0.000 | 0.10 | 0.02 | 0.000 | 0.000 | 0.000 | 0.000 | 665 |
|  | S8 | 512 | 0.000 | 0.000 | 0.000 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 3.5 | 22 | 0.70 | 1.8 | 0.000 | 0.000 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 37 |
|  | S9 | 0.000 | 0.000 | 0.000 | 0.000 | 1.00 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 0.000 | 1.8 | 0.000 | 0.03 | 0.000 | 0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 147 |
|  | S10 | 0.20 | 0.000 | 0.000 | 0.000 | 20 | 0.000 | 0.005 | 0.000 | 0.20 | 0.000 | 0.50 | 22 | 0.30 | 1.8 | 0.000 | 0.04 | 0.000 | 0.014 | 0.000 | 0.000 | 0.000 | 0.000 | 59 |

Table S26. (continued).

|  |  | Worst scenario |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | SP | Acetaminophen | Atenolol | Atorvastatin | Azithromycin | Carbamazepine | Clarithromycin | Clotrimazole | Erythromycin A | Anhydroerythromycin A | Fluconazole | Gemfibrozil | Ibuprofen | Irbesartan | Ketoprofen | Metoprolol | Miconazole | Naproxen | o-Desmethylvenlafaxine | Sulfamethoxazole | Thiabendazole | Trimethoprim | Valsartan | Venlafaxine |
| Algae | S1 | 0.10 | 0.30 | 0.000 | 0.36 | 0.000 | 5.7 | 0.06 | 0.000 | 0.08 | 0.10 | 0.000 | 0.10 | 3.6 | 0.000 | 0.000 | 0.15 | 0.000 | 0.06 | 0.000 | 0.000 | 0.000 | 0.10 | 7.6 |
|  | S2 | 0.40 | 0.30 | 0.000 | 0.65 | 0.10 | 7.5 | 0.06 | 0.000 | 0.14 | 0.20 | 0.000 | 0.60 | 16 | 0.000 | 0.000 | 0.10 | 0.000 | 0.18 | 0.000 | 0.000 | 0.013 | 0.20 | 12 |
|  | S3 | 0.10 | 0.60 | 0.000 | 1.2 | 0.000 | 15 | 0.04 | 5.3 | 0.27 | 0.10 | 0.000 | 1.3 | 16 | 0.000 | 0.000 | 0.03 | 0.000 | 0.18 | 0.000 | 0.000 | 0.013 | 0.40 | 15 |
|  | S4 | 1.20 | 0.40 | 0.000 | 1.04 | 0.10 | 3.3 | 0.03 | 0.20 | 0.06 | 0.000 | 0.000 | 1.8 | 11 | 0.000 | 0.000 | 0.02 | 0.000 | 0.15 | 0.000 | 0.000 | 0.000 | 0.50 | 6.6 |
|  | S5 | 2.20 | 0.40 | 0.000 | 0.50 | 0.10 | 0.10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.20 | 8.8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 0.30 | 0.70 |
|  | S6 | 2.30 | 0.000 | 0.000 | 0.22 | 0.000 | 4.2 | 0.05 | 17 | 0.48 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 | 0.000 | 0.06 | 0.000 | 0.06 | 0.000 | 0.000 | 0.000 | 0.000 | 1.4 |
|  | S7 | 0.000 | 0.20 | 0.000 | 0.53 | 0.10 | 4.3 | 0.04 | 3.0 | 0.18 | 0.000 | 0.000 | 0.40 | 4.8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.03 | 0.000 | 0.000 | 0.000 | 0.20 | 7.0 |
|  | S8 | 51 | 0.10 | 0.000 | 0.20 | 0.10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.30 | 4.3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.006 | 0.000 | 0.000 | 0.000 | 0.20 | 0.77 |
|  | S9 | 0.000 | 0.10 | 0.000 | 0.14 | 0.000 | 1.02 | 0.012 | 0.20 | 0.000 | 0.000 | 0.000 | 0.40 | 5.9 | 0.000 | 0.000 | 0.014 | 0.000 | 0.012 | 0.000 | 0.000 | 0.000 | 0.10 | 1.9 |
|  | S10 | 0.10 | 0.000 | 0.000 | 0.12 | 0.000 | 2.4 | 0.05 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 | 0.000 | 0.03 | 0.000 | 0.04 | 0.000 | 0.000 | 0.000 | 0.000 | 7.4 |
| Crustacean | S1 | 0.000 | 0.000 | 0.000 | 0.26 | 1.3 | 0.19 | 0.25 | 0.000 | 0.27 | 0.000 | 83 | 0.000 | 2.5 | 0.40 | 0.20 | 0.74 | 4.8 | 0.06 | 0.000 | 0.000 | 0.000 | 0.000 | 0.07 |
|  | S2 | 0.000 | 0.000 | 0.000 | 0.25 | 4.0 | 0.25 | 0.25 | 0.000 | 0.47 | 0.10 | 94 | 0.000 | 11 | 0.90 | 0.40 | 0.50 | 7.9 | 0.18 | 0.10 | 0.000 | 0.013 | 0.10 | 0.12 |
|  | S3 | 0.000 | 0.000 | 0.000 | 0.83 | 1.8 | 0.49 | 0.19 | 0.001 | 0.91 | 0.10 | 220 | 0.000 | 11 | 1.3 | 0.90 | 0.17 | 10 | 0.18 | 0.000 | 0.10 | 0.013 | 0.10 | 0.13 |
|  | S4 | 0.000 | 0.000 | 0.000 | 0.24 | 5.2 | 0.11 | 0.17 | 0.000 | 0.21 | 0.000 | 295 | 0.000 | 7.6 | 1.2 | 1.00 | 0.09 | 13 | 0.15 | 0.000 | 0.10 | 0.000 | 0.10 | 0.06 |
|  | S5 | 0.000 | 0.000 | 0.000 | 0.10 | 3.2 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 136 | 0.000 | 6.1 | 0.20 | 0.50 | 0.000 | 9.7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 0.000 |
|  | S6 | 0.000 | 0.000 | 0.000 | 0.22 | 0.10 | 0.14 | 0.22 | 0.003 | 1.6 | 0.000 | 1.4 | 0.000 | 0.002 | 0.000 | 0.000 | 0.29 | 0.20 | 0.06 | 0.000 | 0.000 | 0.000 | 0.000 | 0.014 |
|  | S7 | 0.000 | 0.000 | 0.000 | 0.23 | 2.0 | 0.14 | 0.10 | 0.000 | 0.48 | 0.000 | 91 | 0.000 | 3.3 | 0.000 | 0.30 | 0.000 | 5.3 | 0.03 | 0.000 | 0.000 | 0.000 | 0.10 | 0.06 |
|  | S8 | 0.09 | 0.000 | 0.000 | 0.000 | 2.7 | 0.000 | 0.10 | 0.000 | 0.000 | 0.000 | 46 | 0.000 | 3.0 | 0.30 | 0.20 | 0.000 | 4.0 | 0.006 | 0.000 | 0.000 | 0.000 | 0.10 | 0.004 |
|  | S9 | 0.000 | 0.000 | 0.000 | 0.04 | 1.9 | 0.03 | 0.13 | 0.000 | 0.000 | 0.000 | 65 | 0.000 | 4.1 | 0.000 | 0.20 | 0.07 | 2.4 | 0.012 | 0.000 | 0.000 | 0.000 | 0.000 | 0.015 |
|  | S10 | 0.000 | 0.000 | 0.000 | 0.12 | 0.10 | 0.08 | 0.22 | 0.000 | 0.34 | 0.000 | 1.4 | 0.000 | 0.001 | 0.000 | 0.000 | 0.17 | 0.10 | 0.04 | 0.000 | 0.000 | 0.000 | 0.000 | 0.07 |
| Fish | S1 | 0.40 | 0.000 | 0.000 | 0.000 | 67 | 0.000 | 0.006 | 0.000 | 0.16 | 1.00 | 11 | 118 | 1.5 | 16 | 0.000 | 0.30 | 0.20 | 0.03 | 0.000 | 0.000 | 0.000 | 0.000 | 735 |
|  | S2 | 1.8 | 0.000 | 0.000 | 0.000 | 201 | 0.000 | 0.006 | 0.000 | 0.28 | 2.4 | 12 | 577 | 6.7 | 42 | 0.000 | 0.20 | 0.30 | 0.05 | 0.20 | 0.000 | 0.19 | 0.000 | 1193 |
|  | S3 | 0.30 | 0.000 | 0.000 | 0.000 | 91 | 0.001 | 0.004 | 0.000 | 0.55 | 1.7 | 29 | 1347 | 6.3 | 61 | 0.000 | 0.07 | 0.30 | 0.15 | 0.000 | 0.000 | 0.20 | 0.10 | 1423 |
|  | S4 | 6.2 | 0.000 | 0.000 | 0.000 | 262 | 0.000 | 0.003 | 0.000 | 0.12 | 0.10 | 39 | 1800 | 4.5 | 54 | 0.000 | 0.04 | 0.40 | 0.13 | 0.000 | 0.000 | 0.000 | 0.10 | 619 |
|  | S5 | 11 | 0.000 | 0.000 | 0.000 | 160 | 0.000 | 0.000 | 0.000 | 0.000 | 0.30 | 18 | 184 | 3.6 | 9.7 | 0.000 | 0.000 | 0.30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 44 |
|  | S6 | 12 | 0.000 | 0.000 | 0.000 | 3.5 | 0.000 | 0.005 | 0.000 | 0.96 | 0.000 | 0.20 | 18 | 0.001 | 1.8 | 0.000 | 0.11 | 0.000 | 0.03 | 0.000 | 0.000 | 0.000 | 0.000 | 140 |
|  | S7 | 0.20 | 0.000 | 0.000 | 0.000 | 102 | 0.000 | 0.004 | 0.000 | 0.37 | 0.10 | 12 | 396 | 1.9 | 1.8 | 0.000 | 0.000 | 0.20 | 0.02 | 0.000 | 0.000 | 0.000 | 0.000 | 680 |
|  | S8 | 512 | 0.000 | 0.000 | 0.000 | 136 | 0.000 | 0.000 | 0.000 | 0.000 | 0.10 | 6.1 | 267 | 1.8 | 12 | 0.000 | 0.000 | 0.10 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 63 |
|  | S9 | 0.20 | 0.000 | 0.000 | 0.000 | 94 | 0.000 | 0.001 | 0.000 | 0.000 | 0.20 | 8.6 | 440 | 2.4 | 1.8 | 0.000 | 0.03 | 0.10 | 0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 168 |
|  | S10 | 0.30 | 0.000 | 0.000 | 0.000 | 3.5 | 0.000 | 0.005 | 0.000 | 0.20 | 0.000 | 0.20 | 18 | 0.001 | 1.8 | 0.000 | 0.07 | 0.000 | 0.02 | 0.000 | 0.000 | 0.000 | 0.000 | 739 |

References

- Association of Official Analytical Collaboration (AOAC) INTERNATIONAL, 2007. AOAC Official Method 2007.01, Pesticide Residues in Foods by Acetonitrile Extraction and Partitioning with Magnesium Sulfate. Available online at https://nucleus.iaea.org/sites/fcris/Shared%20Documents/SOP/AOAC_2007_01.pdf (accessed 31 July 2024).

- Baduel, C., Mueller, J.F., Tsai, H., Gomez Ramos, M.J., 2015. Development of sample extraction and clean-up strategies for targetand non-target analysis of environmental contaminants in biologicalmatrices. J. Chromatogr. A 1426, 33–47. http://dx.doi.org/10.1016/j.chroma.2015.11.040

- Biel-Maeso, M., Corada-Fernández, C., Lara-Martín, P.A., 2017. Determining the distribution of pharmaceutically active compounds (PhACs) in soils and sediments by pressurized hot water extraction (PHWE). Chemosphere 185, 1001-1010. http://dx.doi.org/10.1016/j.chemosphere.2017.07.094

- Carmona, E., Andreu, V., Picó, Y., 2017. Multi-residue determination of 47 organic compounds in water, soil,sediment and fish—Turia River as case study. J. Pharm. Biomed. Anal. 146, 117–125. http://dx.doi.org/10.1016/j.jpba.2017.08.014

- Castaño-Ortiz, J.M., Gil-Solsona, R., Ospina-Álvarez, N., Alcaraz-Hernández, J.D., Farré, M., León, V.M., Barceló, D., Santos, L.H.M.L.M., Rodríguez-Mozaz, S., 2024. Fate of pharmaceuticals in the Ebro River Delta region: The combined evaluation of water, sediment, plastic litter, and biomonitoring. Sci. Total Environ. 906, 167467. https://doi.org/10.1016/j.scitotenv.2023.167467

- Čelić, M., Gros, M., Farré, M., Barceló, D., Petrović, M., 2019. Pharmaceuticals as chemical markers of wastewater contamination in the vulnerable area of the Ebro Delta (Spain). Sci. Total Environ. 652, 952-963. https://doi.org/10.1016/j.scitotenv.2018.10.290

- Cerveny, D., Grabic, R., Grabicová, K., Randák, T., Joakim Larsson, D.G., Johnson, A.C., Jürgens, M.D., Tysklind, M., Lindberg, R.H., Fick, J., 2021. Neuroactive drugs and other pharmaceuticals found in blood plasma of wild European fish. Environ. Int. 146 (2021) 106188. https://doi.org/10.1016/j.envint.2020.106188

- Da Silva, B.F., Jelic, A., López-Serna, R., Mozeto, A.A., Petrovic, M., Barceló, D., 2011. Occurrence and distribution of pharmaceuticals in surface water, suspended solids and sediments of the Ebro river basin, Spain. Chemosphere 85, 1331-1339. https://doi.org/10.1016/j.chemosphere.2011.07.051

- Duarte, I.A., Reis-Santos, P., Fick, J., Cabral, H.N., Duarte, B., Fonseca, V.F., 2023. Neuroactive pharmaceuticals in estuaries: Occurrence and tissue-specific bioaccumulation in multiple fish species. Environ. Pollut. 316, 120531. https://doi.org/10.1016/j.envpol.2022.120531

- European Chemical Agency (ECHA), 2016a. Guidance on information requirements and chemical safety assessment. Chapter R.16: Environmental exposure assessment. Version 3.0.

- European Chemical Agency (ECHA), 2016b. Guidance on information requirements and chemical safety assessment. Chapter R.16: Environmental exposure assessment. Version 2.0.

- Huber, S., Remberger, M., Kaj, L., Schlabach, M., Jörundsdóttir, H.O., Vester, J., Arnórsson, M., Mortensen, I., Schwartson, R., Dam, M., 2016. A first screening and risk assessment of pharmaceuticals and additives in personal care products in waste water, sludge, recipient water and sediment from Faroe Islands, Iceland and Greenland. Sci. Total Environ. 562, 13-25. http://dx.doi.org/10.1016/j.scitotenv.2016.03.063

- Huerta, B., Jakimska, A., Gros, M., Rodríguez-Mozaz, S., Barceló, D., 2013. Analysis of multi-class pharmaceuticals in fish tissues by ultra-high-performance liquid chromatography tandem mass spectrometry. J. Chromatogr. A 1288, 63– 72. http://dx.doi.org/10.1016/j.chroma.2013.03.001

- Kalogeropoulou, A.G., Kosma, C.I., Albanis, T.A., 2021. Simultaneous determination of pharmaceuticals and metabolites in fish tissue by QuEChERS extraction and UHPLC Q/Orbitrap MS analysis. Anal Bioanal Chem. 413, 7129–7140. https://doi.org/10.1007/s00216-021-03684-y

- Manjarrés-López, D.P., Peña-Herrera, J.M., Benejam, L., Montemurro, N., Pérez, S., 2023. Assessment of wastewater-borne pharmaceuticals in tissues and body fluids from riverine fish. Environ. Pollut. 324, 121374. https://doi.org/10.1016/j.envpol.2023.121374

- Ministry for the Ecological Transition and the Demographic Challenge, 2024. Tagus Hydrographic Confederation. Available online at http://www.chtajo.es/Paginas/default.aspx (accessed 04 November 2024).

- Ministry of Agriculture, Food and Environment, 2015. Protocol for Sampling Fish Fauna in Rivers. Available online at https://www.miteco.gob.es/content/dam/miteco/es/agua/temas/estado-y-calidad-de-las-aguas/ml-r-fi-2015_muestreoylaboratorio_fauna_ictiologica_rios_def_tcm30-175289.pdf (accessed 14 October 2024).

- Navarro, I., De la Torre, A., Sanz, P., Fernández, C., Carbonell, G., Martínez, M.A. Environmental risk assessment of perfluoroalkyl substances and halogenated flame retardants released from biosolids-amended soils. Chemosphere 210, 147-155. https://doi.org/10.1016/j.chemosphere.2018.07.007

- Peysson W. and Vulliet E., 2013. Determination of 136 pharmaceuticals and hormones in sewage sludge using quick, easy, cheap, effective, rugged and safe extraction followed by analysis with liquid chromatography–time-of-flight-mass spectrometry. J. Chromatogr. A 1290, 46-61. http://dx.doi.org/10.1016/j.chroma.2013.03.057

- Rezk, M.R., Riad, S.M., Khattab, F.I., Marzouk, H.M., 2015. Multi-residues determination of antimicrobials in fish tissues by HPLC–ESI-MS/MS method. J. Chromatogr. B 978-979, 103-110. http://dx.doi.org/10.1016/j.jchromb.2014.12.002

- Royano, S., De la Torre, A., Navarro, I., Martinez, M.A., 2023. Pharmaceutically active compounds (PhACs) in surface water: Occurrence, trends and risk assessment in the Tagus River Basin (Spain). Sci. Total Environ. 905, 167422. https://doi.org/10.1016/j.scitotenv.2023.167422

- Sun, Y., Lu, G., Li, J., Dang, T., Xue, C., Liu, J., Yan, Z., 2021. Multimedia distribution and trophic transfer of PPCPs in the middle and lower reaches of the Yarlung Zangbo River. Environ. Pollut. 271, 116408. https://doi.org/10.1016/j.envpol.2020.116408

- Valdés, M.E., Rodriguez Castro, M., Santos, L. H. M. L. M., Barceló, D., Giorgi, A.D.N., Rodriguez-Mozaz, S., Amé M.V., 2023. Contaminants of emerging concern fate and fluvial biofilm status as pollution markers in an urban river. Chemosphere 340, 139837. https://doi.org/10.1016/j.chemosphere.2023.139837

- Vazquez-Roig, P., Andreu, V., Onghena, M., Blasco, C., Picó, Y., 2011. Assessment of the occurrence and distribution of pharmaceuticals in a Mediterranean wetland (L’Albufera, Valencia, Spain) by LC-MS/MS. Anal. Bioanal. Chem. 400, 1287–1301. https://doi.org/10.1007/s00216-011-4826-5